## Discharge
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Broken Banks | Primary Discharge | 325.2 | Y | North East | 419532 | 529584 | Discharge | On Site Testing | 1995 | 1995 |  | 10.9 |  | 140 |  |  | 1.8 | 1177 |  |  | 6.5 |  | https://qjegh.lyellcollection.org/content/qjegh/28/Supplement_2/S101.full.pdf
Blackclough Waterloose | Downstream Weir | 544.3 | Y | North West | 386641 | 427863 | Gravity discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 11.2 |  | 2.5 |  |  | 5.9 |  |  |  | 6.65 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Blackclough Waterloose | Discharge | 544.2 | Y | North West | 386540 | 427685 | Gravity Discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 10.5 |  | 1.2 | [6 empty] | 6.97 | Single on site reading | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Broadclough | Discharge | 639 | Y | North West | 386895 | 424387 | Discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 10 |  | 0.5 |  |  | 21.5 | [5 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Carr and Craggs | Adit Discharge | 668.1 | Y | North West | 389162 | 425881 | Adit | On Site Testing | 2008-11-05 | 2008-11-05 |  | 9.8 |  | 3.72 | [6 empty] | 5.48 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Blairingone | Consented Discharge | 575.4 | Y | Scotland | 298146 | 697750 | Pumped Passive | Logger Data | 2017-04-03 10:30 | 2019-08-01 11:00 | 0.3 | 9.5877 | 22.43 | [8 empty] | Readings are very seasonal, mostly dependant on ambient air temperature | J:\Environment\Technical Team\STS Coal Loggers\Blairingone L575
Cairnhill | Discharge |  | Y | Scotland | 262785 | 623410 | Discharge | On Site Testing | 1995 | 1995 |  | 17.9 |  | 0.09 |  |  | 6.74 |  |  |  | 7.6 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Coalburn Mine (Muir Burn) | Discharge |  | Y | Scotland | 257424 | 614414 | Discharge | On Site Testing | 2006-09-01 | 2006-09-01 |  | 11.8 | [8 empty] | 7.24 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Douglas Discharge | Rigside Day Level | 571.1 | Y | Scotland | 286721 | 635603 | Discharge | Temperature Logger | 2017-02-07 | 2017-11-03 | 8.04 | 10.35 | 11.54 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Douglas L571
Elginhaugh | Discharge |  |  | Scotland |  |  | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 13.8 | [8 empty] | 5.7 | Long-term changes in the quality of polluted minewater discharges - Scotland | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Fordell Upper Discharge | Discharge | 588.1 | Y | Scotland | 314815 | 685510 | Discharge | Water level logger | 2016-04-11 | 2018-08-08 | 10.02 | 10.8798 | 11.47 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Fordell Upper Discharge L588
Glenbuck | Discharge | 720.1 | Y | Scotland | 234520 | 627652 | Gravity Discharge | On Site Testing | 2006-08-31 | 2006-08-31 |  | 10.4 | [8 empty] | 6.81 | Single on site reading | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Joppa Day Level | Weir | 315.1 | Y | Scotland | 331500 | 673512 | Discharge | Water Level Logger | 2016-08-03 | 2017-03-10 | 4.88 | 14.2751 | 14.41 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Joppa Day Level L315
Kingshill | Raw Pipe Outflow (Point A) | 417.1 | Y | Scotland | 285512 | 657314 | Discharge | On Site Testing | 2009-08-19 | 2009-08-19 |  | 13.9 | [8 empty] | 6.94 |  | \infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Lathallan Milll | Upwelling Discharge | 610.1 | Y | Scotland | 346460 | 706300 | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 11.3 |  | 16 |  |  | 10.81 |  |  |  | 6.1 | Long-term changes in the quality of polluted minewater discharges (1995) | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Wilsontown (Mousewater) | Raw Discharge | 416.1 | Y | Scotland | 294870 | 653248 | Passive | Temperature Logger | 2009-11-17 | 2010-07-15 | 1.36 | 7.3442 | 18.01 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Wilsontown (Mousewater) L416
Star Road | Discharge |  |  | Scotland | 329600 | 702500 | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 11.4 |  | 3 |  |  | 4.02 |  |  |  | 6.5 | Long-term changes in the quality of polluted minewater discharges (1995) | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Betws | Road Discharge | 7.3 | Y | South Wales | 264701 | 211243 | Gravity Discharge | On Site Testing | 2007-05-24 | 2008-07-27 | 8 | 11.96 | 15.4 |  |  |  | 10.21 | [5 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Blackvein | Forest Discharge | 594.1 | Y | South Wales | 322629 | 191283 | Passive | On Site Testing | 2005-02-22 | 2005-02-22 |  | 9.8 |  | 1.01 |  |  | 12 |  |  |  | 6.25 | Single on site reading | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Blackvein | Floodplain Discharge | 594.1 | Y | South Wales | 322629 | 191283 | Passive | On Site Testing | 2005-02-22 | 2005-02-22 |  | 9 |  |  |  |  | 0.28 |  |  |  | 6.68 | Single on site reading | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Blaenavon | Weir | 537.4 | Y | South Wales | 324560 | 208930 | Consented Discharge | Temperature Logger | 2011-04-05 | 2011-04-12 | 7.163 | 11.0458 | 14.643 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Blaenavon L537
Boythorpe | Discharge | 33.1 | Y | Yorkshire | 437600 | 370900 | Discharge | On Site Testing | 2009-06-05 | 2019-06-05 |  | 11.6 |  |  |  |  | 48.7 |  |  |  | 6.41 | Single on site reading | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Passive discharge from shafts
Kames | No 1 Shaft | 369.1 | Y | Scotland | 268481 | 626239 | Passive | Temperature Logger | 2009-11-17 | 2012-02-03 | 8.017 | 13.0306 | 13.333 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Kames L369
Carling How | Shaft Discharge | 7.4 | N | North East | 471140 | 519215 | Shaft | On Site Testing | 2009-10-05 | 2009-10-05 |  | 14.7 |  | 20 |  |  | 21.4 |  |  |  | 7 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Discharge
North East | 10.9 | 0
North West | 10.375 | 0.62383
Scotland | 11.9114 | 2.8679
South Wales | 10.4515 | 1.3115
Yorkshire | 11.6 | 0
Passive/Gravity/Consented discharge Average | 11.3065 | 2.1716
Passive discharge from shaft | 13.8653 | 1.1805
Discharge from shaft in average higher than other discharges in the area

## BH
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Water level (mBGL) | Water level (mAOD) | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Algernon | Main Coal B/H | 279.1 | Y | North East | 432413 | 569267 | Borehole | Temperature logger | 2016-09-07 | 2019-06-14 | 10.87 | 10.89 | 11.18 | 27.63 | 35.3 |  | 29 | [6 empty] | Gap between Oct 2018 to April 2019 | J:\Environment\Technical Team\STS Coal Loggers\Algernon L279
Broomhill | Borehole | 804.1 | Y | North East | 424464 | 601079 | Borehole | Water Level Logger | 2017-06-30 | 2019-01-11 | 11.06 | 11.075 | 14.413 |  | 3.5 | [8 empty] | Data taken from 2/8/17 onwards as previous data contained errors . Bot sur qbout depth WL mBGL | J:\Environment\Technical Team\STS Coal Loggers\Broomhill BH L804
Pegswood Busty BH | Borehole water level | 442.1 | Y | North East | 423947 | 587378 | Monitoring borehole | Water level logger | 2016-08-11 | 2019-12-19 | 12.98 | 13.09 | 13.66 |  |  | N/A | 79.91 | [6 empty] | Borehole to Busty Seam workings at XXmBGL. Casing ID is XXXmm
Stony Heap |  | 382.1 | Y | North East | 414785 | 551565 | Borehole | Weir Logger | 2013-08-20 | 2015-01-06 | 1.65 | 9.79 | 20.183 | [10 empty] | Variations reflect air temperature?
Balgone Dalginch | Dysart Main B/H | 493.1 | Y | Scotland | 330614 | 701393 | Borehole | Logger Data | 2016-10-18 | 2019-07-15 | 9.29 | 9.32 | 9.52 |  |  |  | 59.57 | [7 empty] | J:\Environment\Technical Team\STS Coal Loggers\Balgonie Dalginch L493
Balgone Muirespot | Dysart Main B/H | 492.1 | Y | Scotland | 330500 | 699400 | Borehole | Logger Data | 2016-10-18 | 2019-07-14 | 9.3 | 10.5 | 10.7 |  |  |  | 64 | [7 empty] | J:\Environment\Technical Team\STS Coal Loggers\Balgonie Muirespot L492
Balgonie Dalginch BH | Borehole water level | 492.1 | Y | Scotland | 330500 | 699400 | Monitoring borehole | Water Level Logger | 2016-10-18 | 2019-07-15 | 9.29 | 9.3239 | 9.53 | [10 empty] | Range of Log from 9.96 to 13.28mAOD | J:\Environment\Technical Team\STS Coal Loggers\Balgonie Dalginch L493
Leven 4 BH | Borehole water level | 633.1 | Y | Scotland | 336451 | 699870 | Monitoring borehole | Water Level Logger | 2011-02-10 | 2012-05-10 | 11.673 | 11.9072 | 15.403 | [10 empty] | Range of Log from 10.61 to 12.75mAOD | J:\Environment\Technical Team\STS Coal Loggers\Leven 4 BH L633
Mosside BH | Borehole | 259.1 | Y | Scotland | 297800 | 667000 | Monitoring borehole | Water Level Logger | 2017-04-01 | 2018-02-02 | 4.81 | 9.5368 | 10.5 | [11 empty] | J:\Environment\Technical Team\STS Coal Loggers\Mosside L259
Niddrie (Wisp) BH | Borehole | 740.1 | Y | Scotland | 330720 | 671326 | Monitoring borehole | Water Level Logger | 2016-10-27 | 2018-07-04 | 10.52 | 11.873 | 12.3 | [10 empty] | Range of log from 28.02 to 30.3mAOD | J:\Environment\Technical Team\STS Coal Loggers\Niddrie (Wisp) BH L740
Randolph BH | Borehole water level | 222.1 | Y | Scotland | 330442 | 695632 | Monitoring borehole | Water Level Logger | 2017-12-11 |  | 12.19 | 12.2975 | 12.39 | [10 empty] | Range of Log from 1.86 to 2.62mAOD | J:\Environment\Technical Team\STS Coal Loggers\Randolph L222
Rigside BH | Borehole | 634.1 | Y | Scotland | 286850 | 635552 | Monitoring borehole | Water Level Logger | 2017-01-10 | 2017-11-29 | 5.28 | 10.5052 | 13.99 | [11 empty] | J:\Environment\Technical Team\STS Coal Loggers\Rigside BH L634
Tollcross Burn | Borehole |  | Y | Scotland | 267400 | 664900 | Monitoring borehole | On Site Testing | 2008-08-20 | 2008-08-20 |  | 11.4 |  |  |  | 30 | [6 empty] | 6.8 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\On Site Spot Readings
Whitrigg BH | Borehole | 258.1 | Y | Scotland | 297500 | 664900 | Monitoring borehole | Water Level Logger | 2017-02-10 | 2018-02-02 | 5.27 | 10.6136 | 11.27 | [11 empty] | J:\Environment\Technical Team\STS Coal Loggers\Whitrigg L258
Blaenavon | Vivian Borehole | 537.1 | Y | South Wales | 324560 | 208930 | Borehole | Temperature Logger | 2011-04-05 | 2011-04-12 | 16.82 | 18.4244 | 18.627 | [11 empty] | J:\Environment\Technical Team\STS Coal Loggers\Blaenavon L537
Borehole Logger
North East | 11.685 | 1.2203
Scotland | 10.7277 | 1.091
South Wales | 18.4244 | 0
Average borehole logger temperature | 11.3698 | 2.2483
Issure: what is the depth of the measurement?

## BH_log
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Gradient | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth to water (mAOD) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Stony Heap | Borehole | 382.1 | Y | North East | 414785 | 551565 | Borehole | ECT Log 2009 | 2009-12-17 | 2009-12-17 | 9.16 | 9.88 | 10.9 | 0.014286 |  | 12 |  |  | 5.89 | 1883 | 78 | 796 | 7.63 | Range of log from 12.2mBGL to 134.0mBGL | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Stoney Hall BHs
Leacroft | Monitoring Borehole | 640.1 | Y | West Midlands | 400028 | 309714 | Borehole | ETC Log 2019 | 2019-06-27 | 2019-06-27 | 11.27 | 13.02 | 14.76 | 0.048575 |  | 76.53 | [7 empty] | Range of log from 5.01mbgl to 148.37mbgl - Min T at water level | J:\Environment\Technical Team\Shaft logging\Staffordshire\Leacroft BH
Littleton | Monitoring Borehole | 782.1 | Y | West Midlands | 397028 | 312532 | Borehole | ETC Log 2019 | 2019-06-26 | 2019-06-26 | 10.427 | 11.46 | 13.95 | 0.041349 | [9 empty] | Range of log from 122.5mbgl to 202.16mbgl. Min T at 139.45 m. 13.02degC at bottom (202.16m) | J:\Environment\Technical Team\Shaft logging\Staffordshire\Littleton BH
West Cannock No 5 | Aquifer Borehole | 491.1 | Y | West Midlands | 401033 | 314133 | Borehole | ETC Log 2019 | 2019-06-25 | 2019-06-25 | 10.18 | 10.249 | 10.367 | -0.017125 |  | 26 | 155 | [6 empty] | Range of log from 2.12mbgl to 39.89mbgl. Min/Max T taken from water level (27.00m). Min T at 37.92m and Max T at 27m. | J:\Environment\Technical Team\Shaft logging\Staffordshire\West Cannock No 5 Aquifer BH
West Cannock No 5 | Seam Borehole | 491.2 | Y | West Midlands | 400951 | 314158 | Borehole | ETC Log 2019 | 2019-06-25 | 2019-06-25 | 10.47 | 12.11 | 14.76 | 0.031253 |  | 139.6 | [7 empty] | Range of log from 132.51mbgl to 260mbgl. Min T at 152.79m. Bottom temperature (260.49) is 13.866 degC | J:\Environment\Technical Team\Shaft logging\Staffordshire\West Cannock No 5 Seam BH
Monckton Coke Works BH | Borehole Log |  | Y | Scotland |  |  | Monitoring borehole | ECT Log 2012 | 2012-07-26 | 2012-07-26 | 16.95 | 18.5538 | 20.42 | 0.044091 |  | 275 | [7 empty] | Range of log from 300.3mBGL and 379.0mBGL. Min T at water level | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Monckton Coke Works BH
Niddrie | Borehole Log |  | Y | Scotland |  |  | Borehole | ECT Log 2015 |  |  | 10.31 | 12.36 | 13.9 | 0.087775 |  | 23.55 | [7 empty] | Range of log from 22.5mbgl to 64.45mbgl
Borehole LOG
North East | 9.88 | 0
West Midlands | 11.7097 | 1.1652
Scotland | 15.4569 | 4.3797 | depth to water level in Monckton Coke Works grater (300-380) = average temperature much higher than Niddrie (20-60 m)
Average gradient borehole (excluding West cannock aquifer) | 0.044555 | 0.024445
average temperature borehole (depth profile) | 12.519 | 2.8897

## Shaft
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Woodside | Shaft | 530.1 | Y | East Midlands | 444765 | 344463 | Shaft | Logger data | 2017-09-18 | 2019-01-10 | 7.6 | 12.07 | 16.4 |  | 81 | [7 empty] | J:\Environment\Technical Team\STS Coal Loggers\Woodside L530
Karva | Borehole | 805.1 | Y | East Midlands |  |  | Shaft | Temperature logger | 2018-09-06 14:37 | 2019-07-12 12:07 | 8.88 | 11.6895 | 14.59 | [8 empty] | Data taken from 26/9/18 onwards as previous data contained errors | J:\Environment\Technical Team\STS Coal Loggers\Karva
Babbington | No.4 Shaft | 667.1 | Y | East Midlands | 453202 | 343710 | Shaft | Logger Data | 2016-04-25 | 2019-07-16 | 12.1 | 12.38 | 13.91 |  | 80.11 | [7 empty] | J:\Environment\Technical Team\STS Coal Loggers\Babbington BH L759
Langton | No.7 Shaft | 451.1 | Y | East Midlands | 447468 | 355059 | Shaft | Water level logger | 5th May 2016 | 2019-07-16 | 11.94 | 13.26 | 14.86 |  | 66 | [7 empty] | J:\Environment\Technical Team\STS Coal Loggers\Langton L451
Boldon | No.1 Shaft (South) | 17.1 | Y | North East | 434655 | 562252 | Shaft | Water Level Logger | 2016-08-10 15:00 | 2019-07-22 02:00 | 14.2 | 14.6 | 15.2 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Boldon L17
Carling How | Shaft Discharge | 7.4 | N | North East | 471140 | 519215 | Shaft | On Site Testing | 2009-10-05 | 2009-10-05 |  | 14.7 |  | 20 |  |  | 21.4 |  |  |  | 7 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Cameron | Dysart Main B/H | 170.1 | Y | Scotland | 334610 | 699140 | Shaft | Water Level Logger
Polkemmet No1 Shaft | Shaft | 135.1 | Y | Scotland | 293410 | 663992 | Shaft | Logger data | 2016-09-29 | 2019-07-02 | 15.46 | 18.4 | 18.68 |  | 63.2 | [6 empty] | Logger data available for pre-2016 but only looked at last years worth of data | J:\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Polkemmet Shaft (L135)\Polkemmet logger data 2016-2017.xlsx
Missing Lynemouth TS | Pumped ?
Shaft logger
East Midlands | 12.3499 | 0.66925
North East | 14.65 | 0.070711
Scotland | 18.4 | 0
Average Temperature Shafts | 13.8714 | 2.3213

## Shaft_Log
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Gradient | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth to water (mAOD) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
A Winning | DC shaft | 500.1 | Y | East Midlands | 443608 | 357743 | Shaft | ECT Log 2009 | 2009-09-24 | 2009-09-24 | 15.634 | 16.77 | 17.09 | -0.0071722 |  |  | 47.37 | [6 empty] | Range of log from 52.3mBGL to 265.9mBGL (-155.635mAOD). Min T at water level | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\A Winning
Hartington | Shaft Log | 424.1 | Y | East Midlands | 443399 | 375377 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 14.21 | 14.35 | 14.79 | 0.0038099 | [9 empty] | Range of log from 75.6mBGL to 228mBGL. Tmax at the bottom. Use Tmin = 14.23 at 77m and Tmax = 14.76 at 216.11 m. | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Hartington Shaft
Langton | Shaft | 451.1 | Y | East Midlands | 447468 | 355059 | Shaft | ECT Log 2013 | 2013-11-05 | 2013-11-05 | 10.6 | 18.52 | 20.93 | 0.031942 | [9 empty] | Range of log from 101.6mBGL to 425.0mBGL. Steps | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Langton Shaft
Langwith | Shaft | 761.1 | Y | East Midlands | 452915 | 370692 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 18.22 | 19.72 | 19.84 | - | [9 empty] | Range of log from 219.1mBGL to 269.1mBGL. Short straight profile | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Langwith Shaft
Williamthorpe | Shaft | 484.1 | Y | East Midlands | 442738 | 366611 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 11.52 | 12.3 | 12.65 | - | [9 empty] | Range of log from 136.0mBGL to 328.3mBGL. Steps.Tmin at 172.15m | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Williamthorpe Shaft
Woodside | Shaft | 530.1 | Y | East Midlands | 444765 | 344463 | Shaft | ECT Log 2010 | 2010-01-07 | 2010-01-07 | 7 | 13.65 | 16.46 | - |  | 77.6 |  |  | 8.58 | 2462 | 252 | 485 | 6.7 | Range of log from 77.6mBGL to 245.7mBGL. Steps | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Woodside Shaft\Woodside Logs.xlsx
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2000 | 2000 | 2000 | 13.5909 | 18.0986 | 23.2 | 0.025436 | [9 empty] | Log from -108.52 to -486.3 mAOD | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2005 | 2005 | 2005 | 11.3472 | 16.7492 | 23.1057 | - | [9 empty] | Log from -6.955 to -483.853 mAOD | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2004 | 2004 | 2004 | 11.3712 | 16.9153 | 23.064 | - | [9 empty] | Log from -25.13 to -483.93 mAOD | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2006 | 2006 | 2006 | 11.1345 | 16.5119 | 22.9965 | - | [9 empty] | Log from -6.09 to -477.06 mAOD | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2003 | 2003 | 2003 | 12.014 | 16.9335 | 22.975 | - | [9 empty] | Log from -27.03 to -483.93 mAOD | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | Shaft | ECT Log 2008 | 2008 | 2008 | 11.2183 | 16.378 | 22.6992 | - | [9 empty] | Log from -7.51 to -464.91 mAOD (pumping starts) | \\infprod.TCA\shared_folders\Environment\Technical Team\Shaft logging\North East\East of Wear\dawdon
Bates | No.2 Shaft Log | 11.1 | Y | North East | 430619 | 582281 | Pumped | ECT Log 2010 | 2010-05-12 | 2010-05-12 | 9.1 | 12.4783 | 15.23 | [10 empty] | Range of log from 2mBGL to 233mBGL
Bates | No.3 Shaft Log | 11.2 | Y | North East | 430496 | 582255 | Pumped | ECT Log 2010 | 2010-05-11 | 2010-05-11 | 10.4236 | 14.3595 | 15.11 | [10 empty] | Range of log from 3mBGL to 465mBGL
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 2008 | 2008 | 2008 | 12.21 | 18.03 | 19.5 | [10 empty] | Range of log from -15.50mAOD to -316.30mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 2006 | 2006 | 2006 | 16.2 | 17.24 | 19.01 | [10 empty] | Range of log from-11.8mAOD to -342.64mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 2005 | 2005 | 2005 | 14.8 | 16.73 | 18.57 | [10 empty] | Range of log from -13.55mAOD to -316.39mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 2004 | 2004 | 2004 | 13.87 | 15.98 | 16.99 | [10 empty] | Range of log from -16.94mAOD to -313.59mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 12/2003 | 2003-12-01 | 2003-12-01 | 12.97 | 14.74 | 18.211 | [10 empty] | Range of log from -16.44mAOD to -316.34mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | Pumped | ECT Log 9/2003 | 2003-09-01 | 2003-09-01 | 10.84 | 13.77 | 18.13 | [10 empty] | Range of log from -17.84mAOD to -317.44mAOD | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Horden Shaft
Lynemouth No1 Shaft | Shaft | 708.1 | Y | North East | 429829 | 590469 | Shaft | ECT Log 2010 | 2010-07-27 | 2010-07-27 | 12.15 | 13.11 | 16.63 | - |  | 106.3 | [7 empty] | Range of log from 102.2mBGL to 143.1mBGL | J:\Environment\Environment Department Team Folder\Temperature Data\EC-T Surveys\Lynemouth Shaft
Easthouses | Great Seam Borehole | 787.1 | Y | Scotland | 334193 | 665977 | Shaft | ETC Log 2016 | 2016-03-31 | 2016-03-31 | 9.64 | 11.06 | 14.26 | 0.030547 | [9 empty] | Range of log from 4.68mbgl to 170.79mbgl. Min T at 19.55 m | \\infprod.tca\shared_folders\Environment Media\Mine_Water_CCTV_Survey\CCTV Shafts and Boreholes\Easthouses BH\Easthouses Great Seam BH 20190711
Easthouses | Great Seam Borehole | 787.1 | Y | Scotland | 334193 | 665977 | Shaft | ETC Log 2019 | 2019-07-11 | 2019-07-11 | 9.76 | 11.4 | 14.9 | 0.032353 | [9 empty] | Range of log from 46.5mbgl to 229.2mbgl. Min T at 70.33m. T max at well bottom. | \\infprod.tca\shared_folders\Environment Media\Mine_Water_CCTV_Survey\CCTV Shafts and Boreholes\Easthouses BH\Easthouses Great Seam BH 20190711
Bilston Glen | Shaft 1 Downcast Shaft | 432.1 | Y | Scotland | 327269 | 665076 | Shaft | ETC Log 2019 | 2019-07-10 | 2019-07-10 | 16.5 | 17.01 | 17.36 | 0.0017339 |  | 113.54 | [7 empty] | Range of log from 104mbgl to 610mbgl . T= 16.5 at 113.54m. Tmax at bottom | \\infprod.tca\shared_folders\Environment Media\Mine_Water_CCTV_Survey\CCTV Shafts and Boreholes\Bilston Glen\Bilston Glen Shaft 1 - 20190710
Missing BG shaft ECT log 2012 and 2016
Boldon | No1 shaft | [5 empty] | Shaft | 2009 |  |  | 15.18 |  | 16.89 | 0.0050742 |  |  | -95.16 | [6 empty] | Reach seam at -432 mAOD
Shaft LOG
|  |  |  | East Midlands | 15.885 | 2.9202
|  |  |  | East of Wear | 16.9311 | 1.3605
|  |  |  | North East | 15.1598 | 1.9314
|  |  |  | Scotland | 13.1567 | 3.3414
|  |  |  | Average geothermal gradient shaft | 0.015466
|  |  |  | Average temperature shaft (depth profile) | 15.5335 | 2.3531

## Pumped
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Discharge
Aspull Sough | Sough | 328.4 | Y | North West | 359640 | 407120 | Pumped | On Site Testing | 2011-09-08 | 2011-09-08 | 11.78 | 11.94 | 12.71 | [7 empty] | 6.6 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Cascade (Aeration) Report
A Winning | Consented Discharge | 500.1 | Y | East Midlands | 443608 | 357743 | Pumped Passive | Logger data | 2018-06-05 | 2019-07-15 | 7 | 14.2 | 23.1 |  |  | 0.5 | [5 empty] | site ref should be 500.7 - CHECK and correct | J:\Environment\Technical Team\Wisdom working\CA08 Environment\31 Mine Water Projects and Schemes - Coal\A Winning
Taff Merthyr | Raw Mine Water | 527.1 | Y | South Wales | 310290 | 199020 | Pumped | Temperature logger | 2016-05-24 | 2019-05-31 12:41 | 9.08 | 11.9292 | 19.05 | [8 empty] | Data taken from 13/06/2016 to 31/05/2019 as other data contained errors | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Taff Merthyr
Borehole
Blindwells | Pumping B/H | 656.1 | Y | Scotland | 341785 | 674804 | Pumped Passive | Water Level Logger | 2018-04-05 | 2019-08-02 | 10.27 | 11.5375 | 12.01 | [9 empty] | J:\Environment\Technical Team\STS Coal Loggers\Blindwells L656\Blindwells Pumping BH
Blindwells | Pumping BH 5A | 656.4 | Y | Scotland | 341622 | 674753 | Pumped Passive | Temperature Logger | 2011-11-17 | 2012-08-09 | 10.74 | 11.5763 | 14.073 | [9 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Blindwells (L656)\Blindwells Pumping Borehole 5A (656.40)
Cadley Hill | Borehole | 407.1 | Y | South Derbyshire | 427952 | 319076 | Borehole | Pumping Test (Raw Pumped) | 2009-12-25 | 2010-01-28 | 9.6 | 12.48 | 14.4 |  |  |  | 34.285 | 18431.47 |  |  | 6.544 | Data taken from "Raw Pumped" values | J:\Environment\Lee Wyatt\Pumping Tests\Cadley Hill Pumping Test
Cannock Wood | Monitoring Borehole | 682.1 | Y | West Midlands | 403552 | 312589 | Pumped Passive | Logger Data | 2017-09-22 | 2019-08-11 | 15.97 | 17.067 | 17.14 | [9 empty] | \\infprod.tca\shared_folders\Environment\Technical Team\STS Coal Loggers\Cannock Wood L682\682.10_Monitoring Borehole
Six Bells (Vivian) | Pumping borehole | 444.1 | Y | South Wales | 321951 | 203548 | Pumped | Logger data | 2016-11-16 | 2017-10-02 | 14.8 | 17.2479 | 18.2 |  | 29.95 | [6 empty] | Logger data available for pre-2016 but only looked at last years worth of data | J:\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Vivian (Six Bells) (L444)\Six Bells (Vivian) 444.1 - 2016 to 2017.xlsx
Shafts
A Winning | DC Shaft | 500.1 | Y | East Midlands | 443608 | 357743 | Pumped Passive | Logger data | 2019-08-15 | 2019-09-30 | 17 | 17.097 | 17.1 |  |  | tbc
Bates | No.2 Shaft Log | 11.1 | Y | North East | 430619 | 582281 | Pumped | Water level logger | 2016-09-06 | 2017-04-13 | 13.11 | 13.5455 | 13.91 |  | 3.7
Bates | No.3 Shaft Log | 11.2 | Y | North East | 430496 | 582255 | Pumped | Water level logger | 2015-12-02 | 2017-12-20 | [6 empty] | 15.58 | 10269.6 | 2293 | 2500.68
Blenkinsop | Smallburn Shaft | 607.1 | Y | North East | 367006 | 564317 | Active - Passive (Chemical Addition | Water Level logger | 2013-11-27 12:35 | 2015-01-06 11:35 | 7.827 | 12.7859 | 13.803 | [8 empty] | Data taken from 03/07/2012 to 23/02/13 | J:\Environment\Technical Team\STS Coal Loggers\Blenkinsopp Shaft L607
Horden | Shaft | 40.1 | Y | North East | 444225 | 541858 | Pumped | Logger data | 2016-08-10 | 2019-05-08 | 12.01 | 12.82 | 14.11 |  | 76.8 | [6 empty] | Logger data available for pre-2016 but only looked at last years worth of data (small periods of data missing - highlighted in yellow) | J:\Environment\Technical Team\STS Coal Loggers\Horden L40
Lynemouth | Shaft | 708.1 | Y | North East | 429829 | 590469 | Pumped | On Site Testing | 2016-12-09 | 2017-10-17 | 14.52 | 15.07 | 15.39 | 100 | 56.9 | [6 empty] | Pumped water. Depth of pumps at approx XXXmBGL. Depth of shaft is XXXm. Data for May to July 2017 inclusive is missing from statistical analysis | J:\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Lynemouth Shaft\Lynemouth 708.1 data.xlsx
Michael | Shaft | 164.1 | Y | Scotland | 333568 | 696104 | Pumped | On Site Testing | [5 empty] | 50 | 10
Frances | Shaft | 163.1 | Y | Scotland | 330986 | 693887 | Pumped Passive | Logger Data | 2016-08-19 | 2018-07-23 | 14.01 | 14.1796 | 14.52 | [9 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Frances (L163)\Frances Shaft
Pumped discharge from shafts
Caphouse | Hope Shaft | 39.1 | Y | North East | 424864 | 416190 | Pumped Discharge | On Site Testing | 2009 | 2009 |  | 14.2 |  | 76 |  |  | 42.5 | 2943 |  |  | 7.01 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Public (Non CA) Data
Morlais | Shaft discharge | 528.1 | Y | South Wales | 257225 | 202234 | Pumped | Temperature logger | 2016-05-24 08:30 | 2019-07-10 13:11 | 4.36 | 13.7826 | 19.69 | [8 empty] | Data Taken from 04/07/2016 to 24/09/2018 | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Morlais Raw Channel
| Pumped discharge | 12.6897 | 1.3079
| Pumped Borehole | 13.9817 | 2.9241
| Pumped shaft | 14.2497 | 1.6412
| Pumped discharge from shaft | 13.9913 | 0.29512
| Pumped | discharge | borehole | shaft
East Midlands | 15.6485 | 14.2 |  | 17.097
Scotland | 12.8683 |  | 11.5569 | 14.1796
North East | 13.7007 |  |  | 13.7007
North West | 11.9 | 11.9
South Wales | 14.2942 | 11.9 | 17.2 | 13.7826
South Derbyshire | 12.5 |  | 12.5
West Midlands | 17.1 |  | 17.1

## Cascade
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Approx. Ave. Flow Rate (L/s) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Ave. Iron (Total) (mg/L) | Ave. EC (us/cm 25 'C) | Ave. Chloride (mg/L) | Ave. Sulphate (mg/L) | Ave. pH | Comments | File location link
Bridgewater Canal | Bottom | 29.3 | Y | North West | 374828 | 400544 | Cascade Outflow | Temperature Logger | 2011-09-07 | 2011-09-07 | 11.93 | 12.06 | 12.47 | [7 empty] | 7.23 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Cascade (Aeration) Report
A Winning | Cascade | 500.3 | Y | East Midlands | 443790 | 357640 | Pumped Passive | Temperature logger | 2018-07-18 14:03 | 2018-10-17 08:03 | 16.49 | 17.2143 | 17.97 |  |  | 0.5 | [5 empty] | Data taken from 29/08/2018 to 09/10/2018 as other data contained errors | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\A Winning Cascade
Bates | Cascade | 11.25 | Y | North East | 430388 | 582397 | Pumped | Temperature logger | 2017-10-25 | 2019-06-12 | 1.67 | 13.6 | 15.13 | 200 | N/A | 0.5 | 18 |  | 2500 | 2600 |  |  | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Bates Cascade
Horden | Cascade | 40.45 | Y | North East | 444370 | 542030 | Pumped | Temperature logger | 2016-05-26 | 2019-04-24 12:00 | 5.29 | 16.2858 | 17.7 | 40 | N/A | [6 empty] | Cascade is located XXXm from shaft. Pipeline is part buried part above ground. Pump at approx XXXmBGL. Depth of shaft is XXXm | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Horden Cascade
Blindwells | Cascade | 656.55 | Y | Scotland | 341763 | 674793 | Cascade Outflow | Temperature Logger | 2016-05-27 | 2016-11-30 | 9.49 | 11.4967 | 21.85 | [9 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Logger Data\Blindwells (L656)\Blindwells Cascade (656.55)
Frances | Cascade | 163.15 | Y | Scotland | 330940 | 694010 | Pumped | Temperature logger | 2016-10-19 | 2019-06-10 10:00 | 7.707 | 11.21 | 19.76 | 180 | N/A | 0.5 | 60.306 | 4303.27 | 621.75 | 1445.774 | 6.41 | Data taken from 21/05/2017 onwards as previous data contained errors - ensure shaft logger 163.1 seperated from cascade data | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Frances Cascade
Six Bells (Vivian) | Cascade | 444.25 | Y | South Wales | 321830 | 203635 | Pumped | Temperature logger | 2016-05-24 | 2019-06-28 11:40 | -5.98 | 18.471 | 28.05 | [8 empty] | Logger data missing from Sept 2018 to April 2019 | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Six Bells Cascade
Cannock Wood | Cascade |  | Y | West Midlands | 403552 | 312589 | Borehole | Temperature Logger | 2016-05-24 | 2016-10-08 | 11.52 | 15.6719 | 19.73 | [8 empty] | Data taken from 24/07/2016 onwards as previous data contained errors | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Cannock Wood Cascade
Cuthill Top | Stepped Cascade Top Inlet | 591.1 | Y | Scotland | 299056 | 662874 | Cascade Outflow | Temperature Logger | 2011-07-20 | 2011-07-20 | 10.37 | 11.02 | 12.12 | [9 empty] | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Cascade (Aeration) Report
Woolley | Stepped Cascade Top Inlet | 83.15 | Y | Yorkshire | 430572 | 411510 | Pumped | Temperature logger | 2018-07-25 14:06 | 2019-01-31 12:36 | 14.93 | 15.8932 | 18.73 | [8 empty] | Data taken from 25/07/2018 onwards as previous data contained errors | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Woolley Cascade
Bridgewater Canal | Top | 29.3 | Y | North West | 374828 | 400544 | Cascade Outflow | Temperature Logger | 2011-09-07 | 2011-09-07 | 11.91 | 11.98 | 12.17 | [7 empty] | 6.95 |  | \\infprod.tca\shared_folders\Environment\Environment Department Team Folder\Temperature Data\Cascade (Aeration) Report
Silverdale | Top of Cascade | 457.8 | Y | West Midlands | 382060 | 346770 | Pumped | Temperature logger | 2018-07-24 12:10 | 2019-06-12 12:00 | 14.99 | 15.0628 | 15.94 | [8 empty] | Data taken from 29/10/2018 to 30/10/2018 | J:\Environment\Environment Department Team Folder\Temperature Data\Temperature loggers\Silverdale Cascade
Average temperature cascade top | 13.489
Average temperature cascade bottom | 12.06
Average cascade temperature | 14.1638

## Summary
Class | Mean T
Passive discharge | 11.3065
Pumped discharge | 12.6897
Average BH temperature borehole (depth profile) | 12.519
Average BH Logger temperature | 11.3698
Pumped Borehole | 13.9817
Average temperature in shaft (depth profile) | 15.5923
Average Logger Temperature Shafts | 13.8714
Passive discharge from shaft | 13.8653
Pumped shaft | 14.2497
Pumped discharge from shaft | 13.9913
Average cascade temperature | 14.8
Average temperature cascade top | 13.5214
Average temperature cascade bottom | 12.1
Average geothermal gradient borehole (excluding West cannock aquifer) | 0.044555
Average geothermal gradient shaft | 0.015466
Area | Discharge | Borehole Logger | Borehole shaft logger | Pumped discharge | Pumped borehole | Pump shaft | Average pumped | Average all
Scotland | 11.9114 | 10.7277 | 18.4 |  | 11.5569 | 14.1796 | 12.8683 | 13.3551
North East | 10.9 | 11.685 | 14.65 |  |  | 13.7007 | 13.7007 | 12.7339
North West | 10.375 |  |  | 11.9 |  |  | 11.9 | 11.1375
East Midlands |  |  | 12.3499 | 14.2 |  | 17.097 | 15.6485 | 14.5489
West Midlands |  |  |  |  | 17.1 |  | 17.1 | 17.1
Yorkshire | 11.6 | [6 empty] | 11.6
South Wales | 10.4515 | 18.4244 |  | 11.9 | 17.2 |  | 14.55 | 14.494
South Derbyshire |  |  |  |  | 12.5 |  | 12.5 | 12.5
|  | Borehole depth profile | Shaft temperature profile
| North East | 9.88 | 14.265
| West Midlands | 11.7097
| Scotland | 15.4569 | 13.1567
| East Midlands |  | 15.885
| East of Wear |  | 16.9311

## Monitoring_temp
Site | Measurement location | Sub Site Number | Coal | Region | Easting | Northing | grid ref | Lat | Lon | Type of site | Type of measurement | Start Date | End Date | Minimum Temperature ( C) | Average Temperature ( C) | Maximum Temperature ( C) | Gradient | Approx. Ave. Flow Rate (L/s) | Water level (mAOD) | Approx. Depth to water (mBGL) | Approx. Depth of Sensor (mBGL) | Comments | Nearest BHE | Temperature | Depth Measurement | Geothermal Gradient | Heat Flux | Reference
A Winning | DC shaft | 500.1 | Y | East Midlands | 443608 | 357743 | SK4360857743 | 53.115093 | -1.3499397 | Shaft | ECT Log 2009 | 2009-09-24 | 2009-09-24 | 15.634 | 16.77 | 17.09 | -0.0071722 |  | 47.37 | 6 |  | Range of log from 52.3mBGL to 265.9mBGL (-155.635mAOD). Min T at water level
A Winning | Consented Discharge | 500.1 | Y | East Midlands | 443608 | 357743 | SK4360857743 | 53.115093 | -1.3499397 | Pumped Passive | Logger data | 2018-06-05 | 2019-07-15 | 7 | 14.2 | 23.1 |  |  |  |  | 0.5 | site ref should be 500.7 - CHECK and correct
A Winning | DC Shaft | 500.1 | Y | East Midlands | 443608 | 357743 | SK4360857743 | 53.115093 | -1.3499397 | Pumped Passive | Logger data | 2019-08-15 | 2019-09-30 | 17 | 17.097 | 17.1 |  |  |  |  | tbc
A Winning | Cascade | 500.3 | Y | East Midlands | 443790 | 357640 | SK4379057640 | 53.114152 | -1.3472348 | Pumped Passive | Temperature logger | 2018-07-18 14:03 | 2018-10-17 08:03 | 16.49 | 17.2143 | 17.97 |  |  |  |  | 0.5 | Data taken from 29/08/2018 to 09/10/2018 as other data contained errors
Acomb | Deferum inlet | 378.1 | Y | North East | 392565 | 566160 |  |  |  | Gravity discharge | On Site Testing | 2011-11-17 | 2012-08-31 | 9.4 | 12.2654 | 15 |  | 15 |  |  |  | Deferum inlet is a feed from the adit discharge pumped water. Water pumped from sump.
Algernon | Main Coal B/H | 279.1 | Y | North East | 432413 | 569267 | NZ3241369267 | 55.016901 | -1.4946312 | Borehole | Temperature logger | 2016-09-07 | 2019-06-14 | 10.87 | 10.89 | 11.18 |  |  | 35.3 | 29 |  | Gap between Oct 2018 to April 2019
Aspull Sough | Sough | 328.4 | Y | North West | 359640 | 407120 | SD5964007120 | 53.559138 | -2.6107547 | Pumped | On Site Testing | 2011-09-08 | 2011-09-08 | 11.78 | 11.94 | 12.71
Babbington | No.4 Shaft | 667.1 | Y | East Midlands | 453202 | 343710 | SK5320243710 | 52.988093 | -1.2089292 | Shaft | Logger Data | 2016-04-25 | 2019-07-16 | 12.1 | 12.38 | 13.91 |  |  |  | 80.11
Balgone Dalginch | Dysart Main B/H | 493.1 | Y | Scotland | 330614 | 701393 | NO3061401393 | 56.200062 | -3.1198953 | Borehole | Logger Data | 2016-10-18 | 2019-07-15 | 9.29 | 9.32 | 9.52 |  |  |  | 59.57
Balgone Muirespot | Dysart Main B/H | 492.1 | Y | Scotland | 330500 | 699400 | NT3050099400 | 56.182143 | -3.1212099 | Borehole | Logger Data | 2016-10-18 | 2019-07-14 | 9.3 | 10.5 | 10.7 |  |  |  | 64
Balgonie Dalginch BH | Borehole water level | 492.1 | Y | Scotland | 330500 | 699400 | NT3050099400 | 56.182143 | -3.1212099 | Monitoring borehole | Water Level Logger | 2016-10-18 | 2019-07-15 | 9.29 | 9.3239 | 9.53 | [5 empty] | Range of Log from 9.96 to 13.28mAOD
Bates | Cascade | 11.25 | Y | North East | 430388 | 582397 | NZ3038882397 | 55.135011 | -1.5249034 | Pumped | Temperature logger | 2017-10-25 | 2019-06-12 | 1.67 | 13.6 | 15.13 |  | 200 |  | N/A | 0.5
Bates | No.3 Shaft Log | 11.2 | Y | North East | 430496 | 582255 | NZ3049682255 | 55.133728 | -1.5232246 | Pumped | ECT Log 2010 | 2010-05-11 | 2010-05-11 | 10.4236 | 14.3595 | 15.11 | [5 empty] | Range of log from 3mBGL to 465mBGL
Bates | No.3 Shaft Log | 11.2 | Y | North East | 430496 | 582255 | NZ3049682255 | 55.133728 | -1.5232246 | Pumped | Water level logger | 2015-12-02 | 2017-12-20
Bates | No.2 Shaft Log | 11.1 | Y | North East | 430619 | 582281 | NZ3061982281 | 55.133955 | -1.5212927 | Pumped | ECT Log 2010 | 2010-05-12 | 2010-05-12 | 9.1 | 12.4783 | 15.23 |  |  |  | 2 |  | Range of log from 2mBGL to 233mBGL
Bates | No.2 Shaft Log | 11.1 | Y | North East | 430619 | 582281 | NZ3061982281 | 55.133955 | -1.5212927 | Pumped | Water level logger | 2016-09-06 | 2017-04-13 | 13.11 | 13.5455 | 13.91 |  |  |  | 3.7
Betws | Road Discharge | 7.3 | Y | South Wales | 264701 | 211243 | SN6470111243 | 51.783443 | -3.9628208 | Gravity Discharge | On Site Testing | 2007-05-24 | 2008-07-27 | 8 | 11.96 | 15.4
Bilston Glen | Shaft 1 Downcast Shaft |  |  | Scotland | 327269 | 665076 | NT2726965076 | 55.873335 | -3.1639317 | Shaft | ETC Log 2012 |  |  |  | 17 |  |  |  |  | 212 |  | Average temp
Bilston Glen | Shaft 1 Downcast Shaft |  |  | Scotland | 327269 | 665076 | NT2726965076 | 55.873335 | -3.1639317 | Shaft | ETC Log 2016 | 2016-03-31 | 2016-03-31 |  | 17 |  |  |  |  | 133 |  | Average temp
Bilston Glen | Shaft 1 Downcast Shaft | 432.1 | Y | Scotland | 327269 | 665076 | NT2726965076 | 55.873335 | -3.1639317 | Shaft | ETC Log 2019 | 2019-07-10 | 2019-07-10 | 16.5 | 17.01 | 17.36 | 0.0017339 |  |  | 113.54 |  | Range of log from 104mbgl to 610mbgl . T= 16.5 at 113.54m. Tmax at bottom
Blackclough Waterloose | Discharge | 544.2 | Y | North West | 386540 | 427685 | SD8654027685 | 53.745364 | -2.2055705 | Gravity Discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 10.5 |  |  | 1.2 |  |  |  | Single on site reading
Blackclough Waterloose | Downstream Weir | 544.3 | Y | North West | 386641 | 427863 | SD8664127863 | 53.746966 | -2.2040468 | Gravity discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 11.2 |  |  | 2.5
Blackvein | Forest Discharge | 594.1 | Y | South Wales | 322629 | 191283 | ST2262991283 | 51.615036 | -3.1188464 | Passive | On Site Testing | 2005-02-22 | 2005-02-22 |  | 9.8 |  |  | 1.01 |  |  |  | Single on site reading
Blackvein | Floodplain Discharge | 594.1 | Y | South Wales | 322629 | 191283 | ST2262991283 | 51.615036 | -3.1188464 | Passive | On Site Testing | 2005-02-22 | 2005-02-22 |  | 9 | [6 empty] | Single on site reading
Blackwood |  |  | Y | Scotland | 280300 | 643200 |  |  |  | Not Monitored | On Site Testing | 1999 | 1999 |  | 9 |  |  | 3
Blaenavon | Weir | 537.4 | Y | South Wales | 324560 | 208930 | SO2456008930 | 51.773936 | -3.0947852 | Consented Discharge | Temperature Logger | 2011-04-05 | 2011-04-12 | 7.163 | 11.0458 | 14.643
Blaenavon | Vivian Borehole | 537.1 | Y | South Wales | 324560 | 208930 | SO2456008930 | 51.773936 | -3.0947852 | Borehole | Temperature Logger | 2011-04-05 | 2011-04-12 | 16.82 | 18.4244 | 18.627
Blairingone | Consented Discharge | 575.4 | Y | Scotland | 298146 | 697750 | NS9814697750 | 56.161500 | -3.6415866 | Pumped Passive | Logger Data | 2017-04-03 10:30 | 2019-08-01 11:00 | 0.3 | 9.5877 | 22.43 | [5 empty] | Readings are very seasonal, mostly dependant on ambient air temperature
Blenkinsop | Smallburn Shaft |  |  |  | 367006 | 564317 | NY6700664317 | 54.972368 | -2.5169495 |  |  | 2008 | 2008 |  |  | 15 | [5 empty] | Max temp
Blenkinsop | Smallburn Shaft |  |  |  | 367006 | 564317 | NY6700664317 | 54.972368 | -2.5169495 |  |  | 2010 | 2010 |  |  | 10 | [5 empty] | Max temp
Blenkinsop | Smallburn Shaft | 607.1 | Y | North East | 367006 | 564317 | NY6700664317 | 54.972368 | -2.5169495 | Active - Passive (Chemical Addition | Water Level logger | 2013-11-27 12:35 | 2015-01-06 11:35 | 7.827 | 12.7859 | 13.803 |  |  | 116 | 10 |  | Data taken from 03/07/2012 to 23/02/13
Blindwells | Pumping BH 5A | 656.4 | Y | Scotland | 341622 | 674753 | NT4162274753 | 55.962225 | -2.9366807 | Pumped Passive | Temperature Logger | 2011-11-17 | 2012-08-09 | 10.74 | 11.5763 | 14.073 |  |  |  | 15
Blindwells | Cascade | 656.55 | Y | Scotland | 341763 | 674793 | NT4176374793 | 55.962601 | -2.9344312 | Cascade Outflow | Temperature Logger | 2016-05-27 | 2016-11-30 | 9.49 | 11.4967 | 21.85
Blindwells | Pumping B/H | 656.1 | Y | Scotland | 341785 | 674804 | NT4178574804 | 55.962703 | -2.9340812 | Pumped Passive | Water Level Logger | 2018-04-05 | 2019-08-02 | 10.27 | 11.5375 | 12.01 |  |  | 18
Boldon | No.1 Shaft (South) | 17.1 | Y | North East | 434655 | 562252 | NZ3465562252 | 54.953715 | -1.4604162 | Shaft | Water Level Logger | 2016-08-10 15:00 | 2019-07-22 02:00 | 14.2 | 14.6 | 15.2 |  |  | -28 | 57
Boldon | No1 shaft |  |  | North East | 434655 | 562252 | NZ3465562252 | 54.953715 | -1.4604162 | Shaft |  | 2009 | 2009 | 15.18 | 16.035 | 16.89 | 0.0050742 |  | -95.16 |  |  | Reach seam at -432 mAOD
Boythorpe | Discharge | 33.1 | Y | Yorkshire | 437600 | 370900 | SK3760070900 | 53.233810 | -1.4381534 | Discharge | On Site Testing | 2009-06-05 | 2019-06-05 |  | 11.6 | [6 empty] | Single on site reading
Bridgewater Canal | Bottom | 29.3 | Y | North West | 374828 | 400544 | SD7482800544 | 53.500984 | -2.3809495 | Cascade Outflow | Temperature Logger | 2011-09-07 | 2011-09-07 | 11.93 | 12.06 | 12.47
Bridgewater Canal | Top | 29.3 | Y | North West | 374828 | 400544 | SD7482800544 | 53.500984 | -2.3809495 | Cascade Outflow | Temperature Logger | 2011-09-07 | 2011-09-07 | 11.91 | 11.98 | 12.17
Broadclough | Discharge | 639 | Y | North West | 386895 | 424387 | SD8689524387 | 53.715731 | -2.2000468 | Discharge | On Site Testing | 2007-09-19 | 2007-09-19 |  | 10 |  |  | 0.5
Broken Banks | Primary Discharge | 325.2 | Y | North East | 419532 | 529584 | NZ1953229584 | 54.660968 | -1.6987366 | Discharge | On Site Testing | 1995 | 1995 |  | 10.9 |  |  | 140
Broomhill | Borehole | 804.1 | Y | North East | 424464 | 601079 | NU2446401079 | 55.303207 | -1.6162076 | Borehole | Water Level Logger | 2017-06-30 | 2019-01-11 | 11.06 | 11.075 | 14.413 |  |  | 3.5 |  |  | Data taken from 2/8/17 onwards as previous data contained errors . Bot sur qbout depth WL mBGL
Cadley Hill | Borehole | 407.1 | Y | South Derbyshire | 427952 | 319076 | SK2795219076 | 52.768562 | -1.5871551 | Borehole | Pumping Test (Raw Pumped) | 2009-12-25 | 2010-01-28 | 9.6 | 12.48 | 14.4 | [5 empty] | Data taken from "Raw Pumped" values
Cairnhill | Discharge |  | Y | Scotland | 262785 | 623410 | NS6278523410 | 55.485179 | -4.1729949 | Discharge | On Site Testing | 1995 | 1995 |  | 17.9 |  |  | 0.09
Cameron | Dysart Main B/H | 170.1 | Y | Scotland | 334610 | 699140 | NT3461099140 | 56.180390 | -3.0549481 | Shaft | Water Level Logger |  |  |  | 11.3 |  |  | 8 | 34
Cannock Wood | Monitoring Borehole | 682.1 | Y | West Midlands | 403552 | 312589 | SK0355212589 | 52.710953 | -1.9488618 | Pumped Passive | Logger Data | 2017-09-22 | 2019-08-11 | 15.97 | 17.067 | 17.14
Cannock Wood | Cascade |  | Y | West Midlands | 403552 | 312589 | SK0355212589 | 52.710953 | -1.9488618 | Borehole | Temperature Logger | 2016-05-24 | 2016-10-08 | 11.52 | 15.6719 | 19.73 | [5 empty] | Data taken from 24/07/2016 onwards as previous data contained errors
Caphouse | Hope Shaft | 39.1 | Y | North East | 424864 | 416190 | SE2486416190 | 53.641637 | -1.6253917 | Pumped Discharge | On Site Testing | 2009 | 2009 |  | 14.2 |  |  | 76
Carling How | Shaft Discharge | 7.4 | N | North East | 471140 | 519215 | NZ7114019215 | 54.563174 | -0.90133528 | Shaft | On Site Testing | 2009-10-05 | 2009-10-05 |  | 14.7 |  |  | 20
Carling How | Shaft Discharge | 7.4 | N | North East | 471140 | 519215 | NZ7114019215 | 54.563174 | -0.90133528 | Shaft | On Site Testing | 2009-10-05 | 2009-10-05 |  | 14.7 |  |  | 20
Carr and Craggs | Adit Discharge | 668.1 | Y | North West | 389162 | 425881 | SD8916225881 | 53.729211 | -2.1657499 | Adit | On Site Testing | 2008-11-05 | 2008-11-05 |  | 9.8 |  |  | 3.72
Coalburn Mine (Muir Burn) | Discharge |  | Y | Scotland | 257424 | 614414 | NS5742414414 | 55.402873 | -4.2531514 | Discharge | On Site Testing | 2006-09-01 | 2006-09-01 |  | 11.8
Craig yr Aber |  |  |  |  | 285637 | 184812 | SS8563784812 | 51.550570 | -3.6508025 | Discharge |  |  |  |  | 12 |  |  | 19
Cuthill Top | Stepped Cascade Top Inlet | 591.1 | Y | Scotland | 299056 | 662874 | NS9905662874 | 55.848470 | -3.6138274 | Cascade Outflow | Temperature Logger | 2011-07-20 | 2011-07-20 | 10.37 | 11.02 | 12.12
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2000 | 2000 | 2000 | 13.5909 | 18.0986 | 23.2 | 0.025436 |  |  |  |  | Log from -108.52 to -486.3 mAOD
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2005 | 2005 | 2005 | 11.3472 | 16.7492 | 23.1057 | - |  |  |  |  | Log from -6.955 to -483.853 mAOD
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2004 | 2004 | 2004 | 11.3712 | 16.9153 | 23.064 | - |  |  |  |  | Log from -25.13 to -483.93 mAOD
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2006 | 2006 | 2006 | 11.1345 | 16.5119 | 22.9965 | - |  |  |  |  | Log from -6.09 to -477.06 mAOD
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2003 | 2003 | 2003 | 12.014 | 16.9335 | 22.975 | - |  |  |  |  | Log from -27.03 to -483.93 mAOD
Dawdon | Shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft | ECT Log 2008 | 2008 | 2008 | 11.2183 | 16.378 | 22.6992 | - |  |  |  |  | Log from -7.51 to -464.91 mAOD (pumping starts)
Dawdon | shaft | 24.1 | Y | East of Wear | 443580 | 547810 | NZ4358047810 | 54.823246 | -1.3232460 | Shaft |  |  | 2016-09-22 |  | 19 |  |  |  | -18 | #REF!
Douglas Discharge | Rigside Day Level | 571.1 | Y | Scotland | 286721 | 635603 | NS8672135603 | 55.600819 | -3.7994327 | Discharge | Temperature Logger | 2017-02-07 | 2017-11-03 | 8.04 | 10.35 | 11.54
Easingtom | shaft |  |  | Scotland | 443791 | 544134 |  |  |  |  | ECT Log 2000 |  |  |  | 17.7 | [6 empty] | depth of the High Main : stable temperature
Easingtom | shaft |  |  | Scotland | 443791 | 544134 |  |  |  |  | ECT Log 2005 |  |  |  | 17.7
Easingtom | shaft |  |  | Scotland | 443791 | 544134 |  |  |  |  | ECT Log 2006 |  |  |  | 17.7
Easingtom | shaft |  |  | Scotland | 443791 | 544134 |  |  |  |  | ECT Log 2008 |  |  |  | 17.7
Easingtom | shaft |  |  | Scotland | 443791 | 544134 | [8 empty] | 12 |  |  |  | -10 | 70
Easthouses | shaft |  |  | Scotland | 334193 | 665977 | NT3419365977 | 55.882426 | -3.0535163 | Shaft |  | 2018-12-01 | 2018-12-01 |  | 10 |  |  |  | 39 | 55
Easthouses | Great Seam Borehole | 787.1 | Y | Scotland | 334193 | 665977 | NT3419365977 | 55.882426 | -3.0535163 | Shaft | ETC Log 2016 | 2016-03-31 | 2016-03-31 | 9.64 | 11.06 | 14.26 | 0.030547 |  |  |  |  | Range of log from 4.68mbgl to 170.79mbgl. Min T at 19.55 m
Easthouses | Great Seam Borehole | 787.1 | Y | Scotland | 334193 | 665977 | NT3419365977 | 55.882426 | -3.0535163 | Shaft | ETC Log 2019 | 2019-07-11 | 2019-07-11 | 9.76 | 11.4 | 14.9 | 0.032353 |  |  |  |  | Range of log from 46.5mbgl to 229.2mbgl. Min T at 70.33m. T max at well bottom.
Elginhaugh | Discharge |  |  | Scotland | 331792 | 667033 | NT 31792 67033 |  |  | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 13.8 | [6 empty] | Long-term changes in the quality of polluted minewater discharges - Scotland
Fordell Upper Discharge | Discharge | 588.1 | Y | Scotland | 314815 | 685510 | NT1481585510 | 56.054834 | -3.3693759 | Discharge | Water level logger | 2016-04-11 | 2018-08-08 | 10.02 | 10.8798 | 11.47
Frances | Cascade | 163.15 | Y | Scotland | 330940 | 694010 | NT3094094010 | 56.133790 | -3.1127223 | Pumped | Temperature logger | 2016-10-19 | 2019-06-10 10:00 | 7.707 | 11.21 | 19.76 |  | 180 |  | N/A | 0.5 | Data taken from 21/05/2017 onwards as previous data contained errors - ensure shaft logger 163.1 seperated from cascade data
Frances | Shaft | 163.1 | Y | Scotland | 330986 | 693887 | NT3098693887 | 56.132692 | -3.1119505 | Pumped Passive | Logger Data | 2016-08-19 | 2018-07-23 | 14.01 | 14.1796 | 14.52 |  |  | 1 | 47
Glenbuck | Discharge | 720.1 | Y | Scotland | 234520 | 627652 | NS3452027652 | 55.514504 | -4.6223426 | Gravity Discharge | On Site Testing | 2006-08-31 | 2006-08-31 |  | 10.4 | [6 empty] | Single on site reading
Graig Fawr (Celynen North) | Shaft |  |  |  | 321223 | 197453 | ST2122397453 | 51.670305 | -3.1405398 | Shaft | Logger data | 2009-03-03 | 2010-04-28 | 12 | 12.94 | 13.2 |  | 47 | 1 | 47.06 |  | Temperature of mine water discharge at weir recorded
Hartington | Shaft Log | 424.1 | Y | East Midlands | 443399 | 375377 | SK4339975377 | 53.273610 | -1.3506725 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 14.21 | 14.35 | 14.79 | 0.0038099 |  |  |  |  | Range of log from 75.6mBGL to 228mBGL. Tmax at the bottom. Use Tmin = 14.23 at 77m and Tmax = 14.76 at 216.11 m.
Hauxley | shaft |  |  | North East | 428326 | 603283 | NU 28326 03283 | [7 empty] | 10
Hawthorn | shaft |  |  | North East | 438895 | 545851 |  |  |  |  | ECT Log 2000 |  |  |  | 17.6 | [6 empty] | at 250m
Hawthorn | shaft |  |  | North East | 438895 | 545851 |  |  |  |  | ECT Log 2003 |  |  |  | 17.6 | [6 empty] | at 250m
Hawthorn | shaft |  |  | North East | 438895 | 545851 |  |  |  |  | ECT Log 2005 |  |  |  | 17 | [6 empty] | at 250m
Hawthorn | shaft |  |  | North East | 438895 | 545851 |  |  |  |  | ECT Log 2006 |  |  |  | 17 | [6 empty] | at 250m
Hawthorn | shaft |  |  | North East | 438895 | 545851 |  |  |  |  | ECT Log 2008 |  |  |  | 17 | [6 empty] | at 250m
Hawthorn | shaft |  |  | North East | 438895 | 545851 | [8 empty] | 13.4 |  |  |  | 1.2 | 118
High Hauxley | Borehole |  |  | North East | 428216 | 602433 | NU 28225 02435 | [7 empty] | 10.2 |  |  |  | 3.3 | 7 | 9.27
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 2008 | 2008 | 2008 | 12.21 | 18.03 | 19.5 | [5 empty] | Range of log from -15.50mAOD to -316.30mAOD
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 2006 | 2006 | 2006 | 16.2 | 17.24 | 19.01 | [5 empty] | Range of log from-11.8mAOD to -342.64mAOD
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 2005 | 2005 | 2005 | 14.8 | 16.73 | 18.57 | [5 empty] | Range of log from -13.55mAOD to -316.39mAOD
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 2004 | 2004 | 2004 | 13.87 | 15.98 | 16.99 | [5 empty] | Range of log from -16.94mAOD to -313.59mAOD
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 12/2003 | 2003-12-01 | 2003-12-01 | 12.97 | 14.74 | 18.211 | [5 empty] | Range of log from -16.44mAOD to -316.34mAOD
Horden | Shaft Log | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | ECT Log 9/2003 | 2003-09-01 | 2003-09-01 | 10.84 | 13.77 | 18.13 | [5 empty] | Range of log from -17.84mAOD to -317.44mAOD
Horden | Shaft | 40.1 | Y | North East | 444225 | 541858 | NZ4422541858 | 54.769706 | -1.3141138 | Pumped | Logger data | 2016-08-10 | 2019-05-08 | 12.01 | 12.82 | 14.11 |  |  | 13 | 76.8 |  | Logger data available for pre-2016 but only looked at last years worth of data (small periods of data missing - highlighted in yellow)
Horden | Cascade | 40.45 | Y | North East | 444370 | 542030 | NZ4437042030 | 54.771239 | -1.3118339 | Pumped | Temperature logger | 2016-05-26 | 2019-04-24 12:00 | 5.29 | 16.2858 | 17.7 |  | 40 |  | N/A |  | Cascade is located XXXm from shaft. Pipeline is part buried part above ground. Pump at approx XXXmBGL. Depth of shaft is XXXm
Joppa Day Level | Weir | 315.1 | Y | Scotland | 331500 | 673512 | NT3150073512 | 55.949738 | -3.0984688 | Discharge | Water Level Logger | 2016-08-03 | 2017-03-10 | 4.88 | 14.2751 | 14.41 |  |  |  |  | 1.695
Kames | No 1 Shaft | 369.1 | Y | Scotland | 268481 | 626239 | NS6848126239 | 55.512148 | -4.0842652 | Passive | Temperature Logger | 2009-11-17 | 2012-02-03 | 8.017 | 13.0306 | 13.333
Karva | Borehole | 805.1 | Y | East Midlands | [5 empty] | Shaft | Temperature logger | 2018-09-06 14:37 | 2019-07-12 12:07 | 8.88 | 11.6895 | 14.59 |  |  |  | 39 |  | Data taken from 26/9/18 onwards as previous data contained errors
Kimblesworth | Pumping Shaft |  |  | Scotland | 428059 | 547270 | SZ2805900015 | 49.899718 | -1.6106408 | Logger |  |  |  |  | 13.4 |  |  |  | 17 | 70.8
Kingshill | Raw Pipe Outflow (Point A) | 417.1 | Y | Scotland | 285512 | 657314 | NS8551257314 | 55.795513 | -3.8276894 | Discharge | On Site Testing | 2009-08-19 | 2009-08-19 |  | 13.9
Langton | Shaft | 451.1 | Y | East Midlands | 447468 | 355059 | SK4746855059 | 53.090640 | -1.2926708 | Shaft | ECT Log 2013 | 2013-11-05 | 2013-11-05 | 10.6 | 18.52 | 20.93 | 0.031942 |  |  | 76 |  | Range of log from 101.6mBGL to 425.0mBGL. Steps
Langton | No.7 Shaft | 451.1 | Y | East Midlands | 447468 | 355059 | SK4746855059 | 53.090640 | -1.2926708 | Shaft | Water level logger | 5th May 2016 | 2019-07-16 | 11.94 | 13.26 | 14.86 |  |  | 42 | 66
Langwith | Shaft | 761.1 | Y | East Midlands | 452915 | 370692 | SK5291570692 | 53.230639 | -1.2087665 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 18.22 | 19.72 | 19.84 | - |  |  |  |  | Range of log from 219.1mBGL to 269.1mBGL. Short straight profile
Lathallan Milll | Upwelling Discharge | 610.1 | Y | Scotland | 346460 | 706300 | NO4646006300 | 56.246192 | -2.8655335 | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 11.3 |  |  | 16 |  |  |  | Long-term changes in the quality of polluted minewater discharges (1995)
Leacroft | Monitoring Borehole | 640.1 | Y | West Midlands | 400028 | 309714 | SK0002809714 | 52.685119 | -2.0010223 | Borehole | ETC Log 2019 | 2019-06-27 | 2019-06-27 | 11.27 | 13.02 | 14.76 | 0.048575 |  |  | 76.53 |  | Range of log from 5.01mbgl to 148.37mbgl - Min T at water level
Leven 4 BH | Borehole water level | 633.1 | Y | Scotland | 336451 | 699870 | NT3645199870 | 56.187197 | -3.0254720 | Monitoring borehole | Water Level Logger | 2011-02-10 | 2012-05-10 | 11.673 | 11.9072 | 15.403 |  |  | 12 | 16 |  | Range of Log from 10.61 to 12.75mAOD
Leven 4 BH | BH |  |  | Scotland | 336451 | 699870 | SY3645100005 | 49.896893 | -2.8861510 | [5 empty] | 13 |  |  |  | 5 | 23
Littleton | Monitoring Borehole | 782.1 | Y | West Midlands | 397028 | 312532 | SJ9702812532 | 52.710442 | -2.0454277 | Borehole | ETC Log 2019 | 2019-06-26 | 2019-06-26 | 10.427 | 11.46 | 13.95 | 0.041349 |  |  |  |  | Range of log from 122.5mbgl to 202.16mbgl. Min T at 139.45 m. 13.02degC at bottom (202.16m)
Lynemouth | Shaft | 708.1 | Y | North East | 429829 | 590469 | NZ2982990469 | 55.207577 | -1.5328240 | Pumped | On Site Testing | 2016-12-09 | 2017-10-17 | 14.52 | 15.07 | 15.39 |  | 100 |  | 56.9 |  | Pumped water. Depth of pumps at approx XXXmBGL. Depth of shaft is XXXm. Data for May to July 2017 inclusive is missing from statistical analysis
Lynemouth No1 Shaft | Shaft | 708.1 | Y | North East | 429829 | 590469 | NZ2982990469 | 55.207577 | -1.5328240 | Shaft | ECT Log 2010 | 2010-07-27 | 2010-07-27 | 12.15 | 13.11 | 16.63 | - |  |  | 106.3 |  | Range of log from 102.2mBGL to 143.1mBGL
Michael | Shaft | 164.1 | Y | Scotland | 333568 | 696104 | NT3356896104 | 56.152974 | -3.0709708 | Pumped | On Site Testing | [6 empty] | 50 |  | 10
Monckton Coke Works BH | Borehole Log |  | Y | Scotland | [5 empty] | Monitoring borehole | ECT Log 2012 | 2012-07-26 | 2012-07-26 | 16.95 | 18.5538 | 20.42 | 0.044091 |  |  | 275 |  | Range of log from 300.3mBGL and 379.0mBGL. Min T at water level
Morlais | Shaft discharge | 528.1 | Y | South Wales | 257225 | 202234 | SN5722502234 | 51.700636 | -4.0674256 | Pumped | Temperature logger | 2016-05-24 08:30 | 2019-07-10 13:11 | 4.36 | 13.7826 | 19.69 | [5 empty] | Data Taken from 04/07/2016 to 24/09/2018
Mosside BH | Borehole | 259.1 | Y | Scotland | 297800 | 667000 | NS9780067000 | 55.885262 | -3.6354358 | Monitoring borehole | Water Level Logger | 2017-04-01 | 2018-02-02 | 4.81 | 9.5368 | 10.5 |  |  |  | 2
Niddrie | Borehole Log |  | Y | Scotland | 330720 | 671326 |  |  |  | Borehole | ECT Log 2015 |  |  | 10.31 | 12.36 | 13.9 | 0.087775 |  |  | 23.55 |  | Range of log from 22.5mbgl to 64.45mbgl
Niddrie (Wisp) BH | Borehole | 740.1 | Y | Scotland | 330720 | 671326 | NT3072071326 | 55.929989 | -3.1103943 | Monitoring borehole | Water Level Logger | 2016-10-27 | 2018-07-04 | 10.52 | 11.873 | 12.3 | [5 empty] | Range of log from 28.02 to 30.3mAOD
Pegswood Busty BH | Borehole water level | 442.1 | Y | North East | 423947 | 587378 | NZ2394787378 | 55.180121 | -1.6255089 | Monitoring borehole | Water level logger | 2016-08-11 | 2019-12-19 | 12.98 | 13.09 | 13.66 |  | N/A |  | 79.91 |  | Borehole to Busty Seam workings at XXmBGL. Casing ID is XXXmm
Pennyvennie No.3 |  |  |  |  | 248655 | 606625 | NS4865506625 | 55.330317 | -4.3872873 |  | On Site Testing | 1995-07-10 | 1995-07-10 |  | 14.3 |  |  | 6
Polkemmet No1 Shaft | Shaft | 135.1 | Y | Scotland | 293410 | 663992 | NS9341063992 | 55.857295 | -3.7044000 | Shaft | Logger data | 2016-09-29 | 2019-07-02 | 15.46 | 18.4 | 18.68 |  |  |  | 63.2 |  | Logger data available for pre-2016 but only looked at last years worth of data
Randolph BH | Borehole water level | 222.1 | Y | Scotland | 330442 | 695632 | NT3044295632 | 56.148287 | -3.1211573 | Monitoring borehole | Water Level Logger | 2017-12-11 |  | 12.19 | 12.2975 | 12.39 |  |  |  | 60 |  | Range of Log from 1.86 to 2.62mAOD
Rawdon | Shaft | 65.1 |  | East Midlands | 431265 | 316256 | SK 31265 16256 |  |  | Monitoring shaft |  | 1905-07-03 | 1905-07-05 |  | 11.3 |  |  |  | 78
Rigside BH | Borehole | 634.1 | Y | Scotland | 286850 | 635552 | NS8685035552 | 55.600391 | -3.7973655 | Monitoring borehole | Water Level Logger | 2017-01-10 | 2017-11-29 | 5.28 | 10.5052 | 13.99 |  |  |  | 28
Saltburn | Pumping borehole | [8 empty] | Pumped | On Site Testing | [6 empty] | 30
Silverdale | Top of Cascade | 457.8 | Y | West Midlands | 382060 | 346770 | SJ8206046770 | 53.017925 | -2.2688736 | Pumped | Temperature logger | 2018-07-24 12:10 | 2019-06-12 12:00 | 14.99 | 15.0628 | 15.94 | [5 empty] | Data taken from 29/10/2018 to 30/10/2018
Six Bells (Vivian) | Cascade | 444.25 | Y | South Wales | 321830 | 203635 | SO2183003635 | 51.725963 | -3.1331519 | Pumped | Temperature logger | 2016-05-24 | 2019-06-28 11:40 | -5.98 | 18.471 | 28.05 | [5 empty] | Logger data missing from Sept 2018 to April 2019
Six Bells (Vivian) | Pumping borehole | 444.1 | Y | South Wales | 321951 | 203548 | SO2195103548 | 51.725198 | -3.1313809 | Pumped | Logger data | 2016-11-16 | 2017-10-02 | 14.8 | 17.2479 | 18.2 |  |  |  | 29.95 |  | Logger data available for pre-2016 but only looked at last years worth of data
Star Road | Discharge |  |  | Scotland | 329600 | 702500 | NO2960002500 | 56.209857 | -3.1365287 | Discharge | On Site Testing | 1995-07-09 | 1995-07-09 |  | 11.4 |  |  | 3 |  |  |  | Long-term changes in the quality of polluted minewater discharges (1995)
Stony Heap | Borehole | 382.1 | Y | North East | 414785 | 551565 | NZ1478551565 | 54.858660 | -1.7712129 | Borehole | Weir Logger | 2013-08-20 | 2015-01-06 | 1.65 | 9.79 | 20.183 | [5 empty] | Variations reflect air temperature?
Stony Heap | Borehole | 382.1 | Y | North East | 414785 | 551565 | NZ1478551565 | 54.858660 | -1.7712129 | Borehole | ECT Log 2009 | 2009-12-17 | 2009-12-17 | 9.16 | 9.88 | 10.9 | 0.014286 |  |  | 12 |  | Range of log from 12.2mBGL to 134.0mBGL
Taff Merthyr | Raw Mine Water | 527.1 | Y | South Wales | 310290 | 199020 | ST1029099020 | 51.682749 | -3.2989966 | Pumped | Temperature logger | 2016-05-24 | 2019-05-31 12:41 | 9.08 | 11.9292 | 19.05 | [5 empty] | Data taken from 13/06/2016 to 31/05/2019 as other data contained errors
Tollcross Burn | Borehole |  | Y | Scotland | 267400 | 664900 | NS6740064900 | 55.858994 | -4.1200784 | Monitoring borehole | On Site Testing | 2008-08-20 | 2008-08-20 |  | 11.4 |  |  | 30
West Cannock No 5 | Seam Borehole | 491.2 | Y | West Midlands | 400951 | 314158 | SK0095114158 | 52.725068 | -1.9873571 | Borehole | ETC Log 2019 | 2019-06-25 | 2019-06-25 | 10.47 | 12.11 | 14.76 | 0.031253 |  |  | 139.6 |  | Range of log from 132.51mbgl to 260mbgl. Min T at 152.79m. Bottom temperature (260.49) is 13.866 degC
West Cannock No 5 | Aquifer Borehole | 491.1 | Y | West Midlands | 401033 | 314133 | SK0103314133 | 52.724843 | -1.9861430 | Borehole | ETC Log 2019 | 2019-06-25 | 2019-06-25 | 10.18 | 10.249 | 10.367 | -0.017125 |  | 155 | 26 |  | Range of log from 2.12mbgl to 39.89mbgl. Min/Max T taken from water level (27.00m). Min T at 37.92m and Max T at 27m.
Whitrigg BH | Borehole | 258.1 | Y | Scotland | 297500 | 664900 | NS9750064900 | 55.866338 | -3.6394344 | Monitoring borehole | Water Level Logger | 2017-02-10 | 2018-02-02 | 5.27 | 10.6136 | 11.27 |  |  |  | 80
Williamthorpe | Shaft | 484.1 | Y | East Midlands | 442738 | 366611 | SK4273866611 | 53.194872 | -1.3617563 | Shaft | ECT Log 2017 | 2017-05-17 | 2017-05-17 | 11.52 | 12.3 | 12.65 | - |  |  |  |  | Range of log from 136.0mBGL to 328.3mBGL. Steps.Tmin at 172.15m
Wilsontown (Mousewater) | Raw Discharge | 416.1 | Y | Scotland | 294870 | 653248 | NS9487053248 | 55.761123 | -3.6769319 | Passive | Temperature Logger | 2009-11-17 | 2010-07-15 | 1.36 | 7.3442 | 18.01
Woodside | Shaft | 530.1 | Y | East Midlands | 444765 | 344463 | SK4476544463 | 52.995631 | -1.3344962 | Shaft | Logger data | 2017-09-18 | 2019-01-10 | 7.6 | 12.07 | 16.4 |  |  |  | 81
Woodside | Shaft | 530.1 | Y | East Midlands | 444765 | 344463 | SK4476544463 | 52.995631 | -1.3344962 | Shaft | ECT Log 2010 | 2010-01-07 | 2010-01-07 | 7 | 13.65 | 16.46 | - |  |  | 77.6 |  | Range of log from 77.6mBGL to 245.7mBGL. Steps
Woolley | Stepped Cascade Top Inlet | 83.15 | Y | Yorkshire | 430572 | 411510 | SE3057211510 | 53.599273 | -1.5395153 | Pumped | Temperature logger | 2018-07-25 14:06 | 2019-01-31 12:36 | 14.93 | 15.8932 | 18.73 | [5 empty] | Data taken from 25/07/2018 onwards as previous data contained errors