## Guidance Notes
Column Header | Unit | Guidance Notes
Site Number | N/A | Site details as per the Master Site List
Site Name | N/A | Site details as per the Master Site List
Sub Name | N/A | Site details as per the Master Site List
Sub Number | N/A | Site details as per the Master Site List
Date of Visit | dd/mmm/yy | Date of visit must be recorded
Start Time of Testing | hr:mm | It will take a certain amount of time to do all of these tests at any one location. Consequently the time when the onsite testing starts at any one sub site must be documented
Finish Time of Testing | hr:mm | It will take a certain amount of time to do all of these tests at any one location. Consequently the time when the onsite testing is finished at any one sub site must be documented
Time Taken at Sub Site | Minutes | Overall time taken at each sub site
Weir Stage Reading | mm | If a weir is present, record the level of water above the weir crest (stage, or head) in mm and state the size (width / angle) of the weir
Flow | L/s | If no weir is present, record the manual reading of the flow and state how this has been determined e.g. visual estimate; bucket + stopwatch; etc.
pH | pH Units | Take reading from moving water once (pre-calibrated) probe has stabilised. Record to 2 decimal places
Temperature | °C | Take reading from moving water once probe has stabilised. Record to 2 decimal places
Electrical Conductivity (EC) @ 25°C | * µs/cm or ms/cm | Take reading from moving water once probe has stabilised. Ensure reading EC corrected to 25°C. Record whole numbers. For saline waters a probe which measures ms/cm will be required. Delete units as required. Most probes will apply the temperature correction automatically so the operator will need to make sure that the correct number is being reported. It is sometimes reported as specific conductivity however this will be detailed in the user instructions for the equipment that is being purchased.
Total Dissolved Solids (TDS) | ppm or mg/L | Take reading from moving water once probe has stabilised. Record whole numbers
Oxidation-Reduction Potential (ORP or EH) | (+ -) mV | Take reading from moving water once probe has stabilised. Both positive and negative numbers can be recorded. Record whole numbers including + or - signs.
Dissolved Oxygen (DO) | mg/L | Take reading from moving water once probe has stabilised. Record to 1 decimal place
Total Iron | mg/L | Use the Merck Spectroquant and follow user instructions. Record to 2 decimal places
Ferrous Iron | mg/L | Use the Merck Spectroquant and follow user instructions. Record to 2 decimal places
Alkalinity (to pH 4.5) | mg/L as CaCO3 | Use Hach titration kit and follow user instructions. Use sulphuric acid solution and pH probe to measure change in acidity down to 4.5 pH units. Record whole numbers
Cold Acidity (to pH 8.3) | mg/L as CaCO3 | Use Hach titration kit and follow user instructions. Use sodium hydroxide solution and pH probe to measure change in acidity up to 8.3 pH units. Record whole numbers
Water Colour | N/A | describe as: Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc.
Water Clarity | N/A | describe as: Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc.
Smell Odour | N/A | Please state if there is any odour at the site. e.g. hydrogen sulphide (bad eggs) etc.
Comments on Data | N/A | Please include any comments on the data here (e.g. problems with equipment)
Comments General | N/A | Please include any general comments here (e.g. size of v-notch weir; method of flow monitoring used and any details associated with this; any issues occurred on site; tide times and height, water frozen, no flow etc.)
* Delete as required
Filename Naming Convention |  | Each set of onsite data submitted using this template will be given a meaningful and unique filename; for example containing the name of the site, or region; and a date. E.g. "Onsite data Reporting - [name] - [date as yyyy-mm-dd].xlsx"
Guidance notes to aid standardisation |  | Some of these observations will vary due to personal interpretation and changes in light conditions between visits etc. As such the CA appreciate that the information captured in these columns is subjective. However, over time trends will become apparent and these observations can help predict future changes/issues.
Flow |  | If a flow measurement needs to be estimated, the operative can either 1) visually estimate how much water is flowing (a handy tip here is to think of a 10 litre bucket and how estimate how fast this would fill) or 2) use a 10 litre bucket or a 2 Litre jug (depending on the flow) and a stop watch to measure how fast it takes to fill and then calculate the flow. Option 1 is better for higher flows, and it is appreciated that this is subjective and becomes easier with experience.
Water Colour |  | Water colour is defined as follows: Colourless (e.g. clean river water / tap water); Pale Orange (slight dis-colouration caused by low iron concentrations); Medium Orange (e.g. part treated iron mine water); Dark Orange (e.g. untreated mine water - and the orange colour typically seen in settlement ponds); Brown (e.g. water stained brown by flowing over peaty areas). Other colours may apply e.g. if there is a lot of small algae in the water is can sometimes look green; water can sometime be a white milky colour etc. As such again this will be subjective and is intended to highlight dramatic changes.
Water Clarity |  | Water clarity is required to note if there are changes in the appearance of the water and are defined as follows: Clear (water is completely clear e.g. clear river water); Cloudy (there is some murkiness to the water but you can still see through it to some extent down to 1m water depth); Opaque (you can not see through the water as it is very turbid); Foaming (foaming can occur with agricultural run off and when the sea is rough forming foam); Oil/greasy (e.g. used to note if oil/grease etc. has entered the water body, or if bacterial activity has produced a sheen. NOTE: if caused by bacterial activity the oily areas can be broken up with defined edges, whereas oil will not). These comments are going to have some inherent variations as people will see things differently, as such it is not meant to be a definitive comment, but a guide and is subjective.
Smell/ Odour |  | This section is provided to note if there is a smell or not, e.g. H2S smells like bad eggs or an ammonia type smell (smells more agricultural) can sometimes be detected. Some people have a poor sense of smell compared to others, or this can be effected by colds etc., so this will be a personal assessment. In most cases there will probably be no odour at all, therefore No Odour can be documented.

## On Site
Contractor Name | [7 empty] | Flow measurements |  |  |  |  | Onsite Water Testing | [6 empty] | Visual Inspection |  |  | Comments
Site Number | Site Name | Sub Name | Sub Number | Date of Visit | Start Time of Testing | Finish Time of Testing | Time Taken at Sub Site | Weir Stage Reading | Flow | pH | Temperature | Electrical Conductivity (EC) @ 25°C | Total Dissolved Solids (TDS) | Oxidation-Reduction Potential (ORP or EH) | Dissolved Oxygen (DO) | Total Iron | Ferrous Iron | Alkalinity (to pH 4.5) | Cold Acidity (to pH 8.3) | Water Colour | Water Clarity | Odour, Smell | Comments on Data | Comments General
[5 empty] | For each sample point | For each sample point | Minutes | mm | L/s (i.e. bucket and stopwatch or flow meter) | pH units | °C | µs/cm (or ms/cm) | ppm (or mg/l) | (+ -) mV | mg/L | mg/L | mg/L | mg/L as CaCO3 | mg/L as CaCO3 | Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc | Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc | Hydrogen Sulphide (bad eggs); etc
24 | DAWDON | raw minewater | 24.1 | 2016-08-23 | 12:00 | 12:45 | 1080:00 |  | 90 | 6.65 | 20.5 | 55.8 | 39.6 | -64 | 2.44 | 64 | 64 | 419 | 265 | clear | cloudy | hydrogen sulphide
24 | DAWDON | final discharge | 24.4 | 2016-08-23 | 13:00 | 13:45 | 1080:00 |  | 77.8 | 7.23 | 20.4 | 56.1 | 39.8 | -40 | 8.17 | 8.6 | 8.6 | 447 | 76 | clear | clear | none
24 | DAWDON | raw minewater | 24.1 | 2016-09-13 | 11:00 | 11:30 | 720:00 |  | 99.6 | 6.7 | 20.5 | 54.9 | 39 | -76 | 2.05 | 62 | 62 | 455 | 255 | clear | cloudy | hydrogen sulphide
24 | DAWDON | final discharge | 24.4 | 2016-09-13 | 11:30 | 12:00 | 720:00 |  | 85.7 | 7.1 | 20.9 | 55.3 | 39.3 | -43 | 7.6 | 4.4 | 4.4 | 421 | 62 | clear | clear | none
24 | DAWDON | raw minewater | 24.1 | 2016-09-22 | 10:00 | 10:30 | 720:00 |  | 90.1 | 6.7 | 20.4 | 54.6 | 38.6 | -43 | 1.87 | 63 | 63 | 432 | 265 | clear | cloudy | hydrogen sulphide
24 | DAWDON | final discharge | 24.4 | 2016-09-22 | 10:30 | 11:00 | 720:00 |  | 77.2 | 7.1 | 21 | 54.8 | 39.1 | -21 | 8.05 | 6.1 | 6.1 | 443 | 53 | clear | clear | none
24 | DAWDON | raw minewater | 24.1 | 2016-10-04 | 10:00 | 10:30 | 720:00 |  | 90.6 | 6.46 | 19.7 | 54.5 | 39.2 | -70.2 | 1.49 | 66 | 4.1 | 642 | 315 | clear | clear | hydrogen sulphide
24 | DAWDON | final discharge | 24.4 | 2016-10-04 | 10:30 | 11:00 | 720:00 |  | 76.8 | 7.24 | 19.9 | 54.9 | 39.4 | -31.7 | 8.53 | 4.1 | 8.3 | 442 | 85 | clear | clear | none
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-10-11 | 10:06 | 10:51 | 0:45 | - | - | 7.37 | - | 54.9 | 38.7 | 47.2 | 8.48 | 3.7 | 3.7 | 556 | 105 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-10-11 | 10:01 | 10:07 | 0:06 | - | - | 6.68 | - | 54.7 | 38.6 | -89 | 3.33 | 64 | 64 | 640 | 345 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-10-19 | 7:40 | 7:42 | 0:02 | - | - | 7.16 | - | 54.8 | 39.6 | 45 | 8.05 | 4 | 4 | 502 | 98 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-10-19 | 7:31 | 7:34 | 0:03 | - | - | 6.58 | - | 54.5 | 39.4 | -77 | 1.34 | 65 | 65 | 611 | 361 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-10-24 | 12:30 | 12:32 | 0:02 | - | - | 7.2 | - | 56.1 | 39.8 | 12 | 8.35 | 6.7 | 6.7 | 497 | 71 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-10-24 | 12:27 | 12:29 | 0:02 | - | - | 6.7 | - | 56.4 | 39.5 | -62 | 1.93 | 65 | 65 | 587 | 439 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-11-01 | 10:51 | 10:54 | 0:03 | - | - | 7.2 | - | 56.2 | 39.8 | 67 | 8.75 | 7.2 | 7.2 | 423 | 67 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-11-01 | 10:48 | 10:50 | 0:02 | - | - | 6.61 | - | 56.5 | 39.3 | -117 | 1.73 | 66 | 66 | 551 | 497 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-11-08 | 11:12 | 11:14 | 0:02 | - | - | 7.1 | - | 56.2 | 39.7 | 25 | 7.91 | 4.7 | 4.7 | 431 | 43 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-11-08 | 11:05 | 11:07 | 0:02 | - | - | 6.6 | - | 56.7 | 39.5 | -97 | 1.93 | 63 | 63 | 594 | 537 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-11-15 | 11:20 | 11:22 | 0:02 | - | - | 7.1 | - | 56.8 | 39.5 | 68 | 7.11 | 2.5 | 2.5 | 412 | 55 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-11-15 | 11:17 | 11:19 | 0:02 | - | - | 6.7 | - | 56 | 39.2 | -124 | 1.53 | 62 | 62 | 614 | 560 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-11-22 | 8:24 | 8:26 | 0:02 | - | - | 7 | - | 56.5 | 39.7 | 87 | 8.52 | 2.6 | 2.6 | 498 | 55 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-11-22 | 8:22 | 8:24 | 0:02 | - | - | 6.6 | - | 56.6 | 40 | -85 | 1.74 | 63 | 63 | 511 | 398 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-12-06 | 9:42 | 9:44 | 0:02 | - | - | 7 | 18.5 | 53.7 | 40.1 | -22.1 | 8.26 | 2.7 | 2.7 | 439 | 59 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-12-06 | 9:37 | 9:41 | 0:04 | - | - | 6.5 | 20 | - | - | -77.8 | 3.26 | 62 | 62 | 575 | 311 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-12-13 | 14:17 | 14:18 | 0:01 | - | - | - | 19.5 | - | - | -14 | 8.75 | 2.5 | 2.5 | 415 |  | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-12-13 | 14:14 | 14:16 | 0:02 | - | - | 6.5 | - | 55.9 | 44.8 | -100 | 2.69 | 63 | 63 | 604 | 458 |  |  |  | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2016-12-20 | 9:55 | 9:57 | 0:02 | - | - | 7 | 19.5 | 58.2 | 41.9 | 97.9 | 8.8 | 2.7 | 2.7 | 450 | 55 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2016-12-20 | 9:36 | 9:38 | 0:02 | - | - | 6.5 | 20 | 58.7 | 42.2 | -60.5 | 4.65 | 63 | 63 | 595 | 335 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-01-10 | 13:58 | 13:59 | 0:01 | - | - | 7.1 | 20.4 | 56.5 | 39.1 | 16 | 8.65 | 1.3 | 1.3 | 436 | 55 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-01-10 | 13:55 | 13:57 | 0:02 | - | - | 6.6 | 19.6 | 56.3 | 38.9 | -85 | 1.98 | 62 | 62 | 511 | 315 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-01-17 | 11:26 | 11:32 | 0:06 | - | - | 6.6 | 20.2 | 56.5 | 40.2 | 65.7 | 1.75 | 61 | 61 | 545 | 229 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-01-17 | 11:33 | 11:37 | 0:04 | - | - | 7.1 | 19.8 | 56.7 | 40 | 21 | 8.11 | 4.5 | 4.5 | 490 | 66 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-02-03 | 9:07 | 10:54 | 1:47 | - | - | 7.1 | 20.2 | 56.8 | 39.4 | 12 | 8.45 | 3.2 | 3.2 | 441 | 51 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-02-03 | 8:58 | 9:05 | 0:07 | - | - | 6.6 | 20.2 | 56.5 | 39.5 | -68 | 1.85 | 61 | 61 | 525 | 314 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-02-07 | 7:40 | 13:25 | 5:45 | - | - | 7.2 | 20.2 | 57 | 39.6 | -11 | 7.52 | 6.3 | 6.3 | 452 | 72 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-02-07 | 7:35 | 13:22 | 5:47 | - | - | 6.6 | 19.8 | 56.1 | 39.5 | -99 | 1.98 | 61 | 61 | 586 | 284 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-02-23 | 11:58 | 11:59 | 0:01 | - | 0 | 7.1 | 20.5 | 56.5 | 39.4 | 52 | 7.53 | 5 | 5 | 468 | 58 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-02-23 | 11:55 | 11:57 | 0:02 | - | 90 | 6.7 | 19.8 | 56.7 | 39.5 | -62 | 1.8 | 63 | 63 | 492 | 300 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-03-02 | 13:41 | 13:43 | 0:02 | - | - | 7 | 20.2 | 57.5 | 39.5 | -11 | 8.45 | 3.3 | 3.3 | 502 | 65 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-03-02 | 10:00 | 13:46 | 3:46 | - | - | 6.6 | 20.4 | 57.9 | 39.8 | -74 | 1.96 | 62 | 62 | 555 | 295 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-03-07 | 9:49 | 9:51 | 0:02 | - | - | 7 | 20 | 57.8 | 41.7 | 31.4 | 8.7 | 2.4 | 2.4 | 390 | 170 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-03-07 | 8:44 | 9:22 | 0:38 | - | - | 6.4 | 19.6 | 58.2 | 41.6 | - | - | 64 | 64 | 500 | 310 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-03-14 | 15:18 | 15:20 | 0:02 | - | - | 7 | 20 | 58.7 | 42.1 | 43 | 8.3 | 2 | 2 | 403 | 154 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-03-14 | 15:09 | 15:16 | 0:07 | - | - | 6.5 | 20.1 | 58.7 | 41.6 | -54 | 1.85 | 66 | 66 | 486 | 294 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-03-22 | 10:19 | 10:23 | 0:04 | - | - | 7 | 20.4 | 58 | 41.4 | -25 | 7.95 | 3 | 3 | 386 | 175 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-03-22 | 10:16 | 10:18 | 0:02 | - | 94.5 | 6.5 | 20 | 58.5 | 40.5 | -98 | 1.82 | 64 | 64 | 490 | 300 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-03-29 | 10:42 | 10:45 | 0:03 | - | 92 | 6.5 | 20.2 | 58.6 | 41.7 | -108 | 1.84 | 60 | 60 | 480 | 322 | clear | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-04-04 | 10:49 | 10:53 | 0:04 | - | - | 6.3 | 20 | 59 | 42.6 | -75 | 2.32 | 65 | 65 | 495 | - | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-04-04 | 9:57 | 9:59 | 0:02 | - | - | 6.9 | 20 | 59.8 | 43 | -38 | 8 | 6 | 6 | 430 | 347 | CLEAR | CLEAR | NONE | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-04-21 | 9:29 | 9:34 | 0:05 | - | - | 6.5 | 20 | 58.5 | 43.1 | -80 | 1.9 | 65 | 65 | 511 | 315 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-04-21 | 9:35 | 9:38 | 0:03 | - | - | 7 | 20.3 | 58.9 | 42.8 | -24 | 7.55 | 4.5 | 4.5 | 408 | 295 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-04-26 | 14:47 | 14:50 | 0:03 | - | 85 | 6.6 | 20.1 | 54.1 | 40.7 | -95 | 1.8 | 63 | 63 | 555 | 315 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-04-26 | 14:51 | 14:54 | 0:03 | - | - | 7 | 19.3 | 54.7 | 40.3 | 87.4 | 9 | 1 | 1 | 500 | 264 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-05-05 | 10:34 | 10:39 | 0:05 | - | - | 6.8 | 20.6 | 55.7 | 41.5 | -125 | 1.75 | 60 | 60 | 498 | 300 | none | none | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-05-05 | 10:45 | 10:46 | 0:01 | - | - | 7.1 | 20.5 | 54.8 | 40.8 | -52 | 8.55 | 3.7 | 3.7 | 485 | 260 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-05-09 | 14:35 | 14:37 | 0:02 | - | - | 6.6 | 20.4 | - | 42.8 | -86 | 1.78 | 70 | 70 | 505 | 285 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-05-09 | 14:38 | 14:40 | 0:02 | - | - | 7.1 | 20.2 | 55.7 | 41.1 | -15 | 8.55 | 3.5 | 3.5 | 475 | 277 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-05-16 | 12:22 | 12:24 | 0:02 | - | - | 7.1 | 20 | 57 | 40.9 | -8.8 | 8.5 | 2.4 | 2.4 | 535 | 220 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-05-16 | 12:25 | 12:27 | 0:02 | - | - | 6.5 | 20 | 57.5 | 41 | 105 | 1.75 | 63 | 63 | 538 | 315 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-05-25 | 08:19 | 09:30 | 1:11 | - | - | 7 | 20.3 | 57.4 | 41 | -18 | 8.15 | 64 | 2 | 510 | 230 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-05-25 | 12:35 | 12:38 | 0:03 | - | - | 7 | 20 | 58 | 41.8 | -124 | 1.75 | 64 | 64 | 524 | 311 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-05-30 | 14:12 | 14:16 | 0:04 | - | - | 7 | 20.3 | 57.6 | 41.5 | 89 | 8.2 | 3.4 | 3.4 | 520 | 210 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-05-30 | 14:07 | 14:10 | 0:03 | - | - | 6.5 | 20.4 | 58 | 41.5 | -68 | 1.75 | 62 | 62 | -505 | 300 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-06-08 | 10:47 | 10:48 | 0:01 | - | - | 7.2 | 20.3 | 58 | 42.8 | 15 | 7.58 | 2 | 2 | 547 | 208 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-06-08 | 10:43 | 10:46 | 0:03 | - | - | 6.6 | 20 | 57.5 | 41.8 | -96 | 1.85 | 59 | 59 | 510 | 295 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-06-13 | 14:34 | 14:35 | 0:01 | - | - | 7.1 | 20.5 | 58.2 | 42 | 45 | 7.5 | 6.1 | 6.1 | 522 | 200 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-06-13 | 14:31 | 14:33 | 0:02 | - | - | 6.6 | 20.4 | 58.7 | 41.5 | -158 | 1.75 | 65 | 65 | 495 | 324 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-06-23 | 13:18 | 13:21 | 0:03 | - | - | 7.2 | 20.3 | 58 | 42.2 | 6 | 7.88 | 1.3 | 1.3 | 498 | 205 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-06-23 | 09:23 | 13:17 | 3:54 | - | - | 6.7 | 20 | 58.7 | 41.9 | -65 | 1.5 | 58 | 58 | 500 | 314 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-06-27 | 14:01 | 14:03 | 0:02 | - | - | 7.3 | 20.3 | 58.1 | 41 | 21 | 7.55 | 0.8 | 0.8 | 505 | 195 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-06-27 | 13:57 | 14:00 | 0:03 | - | - | 6.6 | 20 | 58.8 | 41.5 | -105 | 1.65 | 61 | 61 | 475 | 320 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-07-07 | 09:48 | 10:18 | 0:30 | - | 0 | 7.1 | 20 | 57.1 | 40.8 | - | 8.56 | 10 | 10 | 600 | 348 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-07-07 | 10:45 | 10:47 | 0:02 | - | 90 | 6.5 | 19.7 | 56.7 | 40.6 | -81.2 | 1.6 | 64 | 64 | 550 | 445 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-07-11 | 11:05 | 11:10 | 0:05 | - | - | 7 | 20.2 | 57.8 | 41.1 | 52 | 8.15 | 4.1 | 4.1 | 545 | 294 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-07-11 | 11:01 | 11:04 | 0:03 | - | - | 6.7 | 19.6 | 56.5 | 40.8 | -69 | 1.5 | 65 | 65 | 518 | 400 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-07-25 | 10:53 | 10:54 | 0:01 | - | - | 7.2 | 20.3 | 58.1 | 40.6 | 65 | 7.95 | 3.6 | 3.6 | 505 | 300 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-07-25 | 10:50 | 10:52 | 0:02 | - | - | 6.6 | - | 57.5 | 40.5 | -55 | 1.68 | 61 | 61 | 520 | 405 | clearf | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 2017-08-01 | 11:21 | 11:24 | 0:03 | - | - | 7.2 | 15 | 57.4 | 40.9 | 36 | 3.8 | 3.1 | 3.1 | 490 | 320 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 2017-08-01 | 11:16 | 11:20 | 0:04 | - | - | 6.65 | 17 | 56.7 | 40.88 | -60 | 1.86 | 65 | 65 | 545 | 395 | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 08/08/2017 | 11:21 | 11:23 | 0:02 | - | - | 7.2 | 20 | 58.4 | 40.9 | -15 | 7.5 | 7 | 7 | 474 | 312 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 08/08/2017 | 11:16 | 11:19 | 0:03 | - | - | 6.6 | 19 | 57.5 | 40.5 | -85 | 1.96 | 62 | 62 | 509 | 378 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 16/08/2017 | 07:43 | 07:45 | 0:02 | 0 | - | 7.1 | 20 | 58 | 41.5 | 12 | 7.95 | 3.5 | 3.5 | 458 | 300 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 16/08/2017 | 07:39 | 07:43 | 0:04 | - | 90 | 6.6 | 19 | 57.5 | 41.1 | -55 | 2.14 | 65 | 65 | 525 | 395 | none | clear | sulphur | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 22/08/2017 | 12:43 | 12:44 | 0:01 | - | - | 6.5 | 20 | 58.8 | 41.5 | -105 | 1.82 | 61 | 61 | 498 | 405 | clear | clear | sulphur | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 22/08/2017 | 12:45 | 12:47 | 0:02 | - | - | 7.1 | 20.5 | 58.1 | 41.2 | 5 | 7.5 | 5.7 | 5.7 | 452 | - | clear | clear | none | - | -
24 | DAWDON | HDS DISCHARGE WEIR | 24.4 | 31/08/2017 | 12:48 | 12:50 | 0:02 | - | - | 7.1 | 20.2 | 58.6 | 41 | 11 | 7.55 | 5.1 | 5.1 | 482 | 311 | clear | clear | none | - | -
24 | DAWDON | THERESA SHAFT | 24.1 | 31/08/2017 | 12:45 | 12:47 | 0:02 | - | - | 6.6 | 20.1 | 58.5 | 41.5 | -52 | 1.95 | 63 | 63 | 500 | 372 | clear | clear | sulphur | - | -
Note on I5: Reavill, Mark: No safe access to weir
Note on I6: Reavill, Mark: No safe access to weir
Note on I7: Reavill, Mark: No safe access to weir
Note on I8: Reavill, Mark: No safe access to weir
Note on I9: Reavill, Mark: No safe access to weir
Note on I10: Reavill, Mark: No safe access to weir
Note on I11: Reavill, Mark: No safe access to weir
Note on I12: Reavill, Mark: No safe access to weir
Note on I13: Reavill, Mark: I have queried what we are doing about gaining safe access.
Note on J13: Reavill, Mark: I have queried why ther are no flow values
Note on T29: Reavill, Mark: Queried with operator
Note on U30: Reavill, Mark: FieldGo error
Note on V30: Reavill, Mark: FieldGo error
Note on W30: Reavill, Mark: FieldGo error
Note on P46: Dewi Jones: Missing Value, no comment?
Note on J57: Dewi Jones: Missing values?
Note on L84: Dewi Jones: Record to 2 decimal places
Note on R84: Dewi Jones: Identical values, are they correct, please comment.This item has already been raised, can we have feedback?
Note on I86: Dewi Jones: Is this value in the correct place, based on last months readings
Note on T89: missing data highlighted in Orange is currently being investigated.

## Comments
Site Number
Site Name
Sub Name
Sub Number
Date of Visit
Start Time of Testing | For each sample point
Finish Time of Testing | For each sample point
Time Taken at Sub Site | Minutes
Weir Stage Reading | mm
Flow | L/s (i.e. bucket and stopwatch or flow meter) | As previously discussed, TCA to provide documentation on standardised way to estimate flows to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
pH | pH units
Temperature | °C
Electrical Conductivity (EC) @ 25°C | µs/cm (or ms/cm) | Please clarify the requirement to warm sample to 25°C, as this may be problematic in the field. | Most probes will apply the temperature correction automatically so the operator will need to make sure that the correct number is being reported. It is sometimes reported as specific conductivity however this will be detailed in the user instructions for the equipment that is being purchased.
Total Dissolved Solids (TDS) | ppm (or mg/l)
Oxidation-Reduction Potential (ORP or EH) | (+ -) mV
Dissolved Oxygen (DO) | mg/L
Total Iron | mg/L
Ferrous Iron | mg/L
Alkalinity (to pH 4.5) | mg/L as CaCO3
Cold Acidity (to pH 8.3) | mg/L as CaCO3
Water Colour | Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc. | As previously discussed, TCA to provide documentation on standardised way to record water colour to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Water Clarity | Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc. | As previously discussed, TCA to provide documentation on standardised way to record water clarity to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Odour, Smell | Hydrogen Sulphide (bad eggs); etc. | As previously discussed, TCA to provide documentation on standardised way to record odour to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Comments on Data
Comments General

## Sampling Program
Onsite Chemistry Monitoring
Site | Sample point | Sub site code | Frequency | pH | EC | DO | TDS | Temp | Tot_Fe | Ferrous Fe | Acidity | Alkalinity | ORP / EH | tests
Blenkinsopp | Smallburn Shaft | 607.1 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon (North) Out | 607.7 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Consented Discharge | 607.5 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
Frances | Shaft | 163.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge | 163.3 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Horden | South Shaft | 40.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Left Settlement Lagoon Out | 40.5 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Right Settlement Lagoon Out | 40.6 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Reed Bed 1 Out | 40.8 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge | 40.4 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Sheephouse Wood | Pumping Borehole | 401.6 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Bottom of Cascade | 401.7 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Middle of Transfer Channel | N/A | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Bottom of Transfer Channel | 401.8 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon 1 Out | 401.9 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon 2 Out | 401.91 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Consented Discharge | 401.92 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Halifax Hards Outflow | 401.2 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Sheephouse Wood Adit | 401.1 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
Ynysarwed | Adit | 210.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Aeration | N/A | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Clarifier In | N/A | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Treatment Plant Out | 210.2 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge (Large Reed Bed) | 210.4 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge (Small Reed Bed) | 210.5 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Dawdon | Theresa Shaft | 24.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| HDS Discharge Weir | 24.2 | Weekly | P | P | P | P | P | P | P | P | P | P | 52