## Guidance Notes
Column Header | Unit | Guidance Notes
Site Number | N/A | Site details as per the Master Site List
Site Name | N/A | Site details as per the Master Site List
Sub Name | N/A | Site details as per the Master Site List
Sub Number | N/A | Site details as per the Master Site List
Date of Visit | dd/mmm/yy | Date of visit must be recorded
Start Time of Testing | hr:mm | It will take a certain amount of time to do all of these tests at any one location. Consequently the time when the onsite testing starts at any one sub site must be documented
Finish Time of Testing | hr:mm | It will take a certain amount of time to do all of these tests at any one location. Consequently the time when the onsite testing is finished at any one sub site must be documented
Time Taken at Sub Site | Minutes | Overall time taken at each sub site
Weir Stage Reading | mm | If a weir is present, record the level of water above the weir crest (stage, or head) in mm and state the size (width / angle) of the weir
Flow | L/s | If no weir is present, record the manual reading of the flow and state how this has been determined e.g. visual estimate; bucket + stopwatch; etc.
pH | pH Units | Take reading from moving water once (pre-calibrated) probe has stabilised. Record to 2 decimal places
Temperature | °C | Take reading from moving water once probe has stabilised. Record to 2 decimal places
Electrical Conductivity (EC) @ 25°C | * µs/cm or ms/cm | Take reading from moving water once probe has stabilised. Ensure reading EC corrected to 25°C. Record whole numbers. For saline waters a probe which measures ms/cm will be required. Delete units as required. Most probes will apply the temperature correction automatically so the operator will need to make sure that the correct number is being reported. It is sometimes reported as specific conductivity however this will be detailed in the user instructions for the equipment that is being purchased.
Total Dissolved Solids (TDS) | ppm or mg/L | Take reading from moving water once probe has stabilised. Record whole numbers
Oxidation-Reduction Potential (ORP or EH) | (+ -) mV | Take reading from moving water once probe has stabilised. Both positive and negative numbers can be recorded. Record whole numbers including + or - signs.
Dissolved Oxygen (DO) | mg/L | Take reading from moving water once probe has stabilised. Record to 1 decimal place
Total Iron | mg/L | Use the Merck Spectroquant and follow user instructions. Record to 2 decimal places
Ferrous Iron | mg/L | Use the Merck Spectroquant and follow user instructions. Record to 2 decimal places
Alkalinity (to pH 4.5) | mg/L as CaCO3 | Use Hach titration kit and follow user instructions. Use sulphuric acid solution and pH probe to measure change in acidity down to 4.5 pH units. Record whole numbers
Cold Acidity (to pH 8.3) | mg/L as CaCO3 | Use Hach titration kit and follow user instructions. Use sodium hydroxide solution and pH probe to measure change in acidity up to 8.3 pH units. Record whole numbers
Water Colour | N/A | describe as: Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc.
Water Clarity | N/A | describe as: Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc.
Smell Odour | N/A | Please state if there is any odour at the site. e.g. hydrogen sulphide (bad eggs) etc.
Comments on Data | N/A | Please include any comments on the data here (e.g. problems with equipment)
Comments General | N/A | Please include any general comments here (e.g. size of v-notch weir; method of flow monitoring used and any details associated with this; any issues occurred on site; tide times and height, water frozen, no flow etc.)
* Delete as required
Filename Naming Convention |  | Each set of onsite data submitted using this template will be given a meaningful and unique filename; for example containing the name of the site, or region; and a date. E.g. "Onsite data Reporting - [name] - [date as yyyy-mm-dd].xlsx"
Guidance notes to aid standardisation |  | Some of these observations will vary due to personal interpretation and changes in light conditions between visits etc. As such the CA appreciate that the information captured in these columns is subjective. However, over time trends will become apparent and these observations can help predict future changes/issues.
Flow |  | If a flow measurement needs to be estimated, the operative can either 1) visually estimate how much water is flowing (a handy tip here is to think of a 10 litre bucket and how estimate how fast this would fill) or 2) use a 10 litre bucket or a 2 Litre jug (depending on the flow) and a stop watch to measure how fast it takes to fill and then calculate the flow. Option 1 is better for higher flows, and it is appreciated that this is subjective and becomes easier with experience.
Water Colour |  | Water colour is defined as follows: Colourless (e.g. clean river water / tap water); Pale Orange (slight dis-colouration caused by low iron concentrations); Medium Orange (e.g. part treated iron mine water); Dark Orange (e.g. untreated mine water - and the orange colour typically seen in settlement ponds); Brown (e.g. water stained brown by flowing over peaty areas). Other colours may apply e.g. if there is a lot of small algae in the water is can sometimes look green; water can sometime be a white milky colour etc. As such again this will be subjective and is intended to highlight dramatic changes.
Water Clarity |  | Water clarity is required to note if there are changes in the appearance of the water and are defined as follows: Clear (water is completely clear e.g. clear river water); Cloudy (there is some murkiness to the water but you can still see through it to some extent down to 1m water depth); Opaque (you can not see through the water as it is very turbid); Foaming (foaming can occur with agricultural run off and when the sea is rough forming foam); Oil/greasy (e.g. used to note if oil/grease etc. has entered the water body, or if bacterial activity has produced a sheen. NOTE: if caused by bacterial activity the oily areas can be broken up with defined edges, whereas oil will not). These comments are going to have some inherent variations as people will see things differently, as such it is not meant to be a definitive comment, but a guide and is subjective.
Smell/ Odour |  | This section is provided to note if there is a smell or not, e.g. H2S smells like bad eggs or an ammonia type smell (smells more agricultural) can sometimes be detected. Some people have a poor sense of smell compared to others, or this can be effected by colds etc., so this will be a personal assessment. In most cases there will probably be no odour at all, therefore No Odour can be documented.

## On Site
Contractor Name | [7 empty] | Flow measurements |  |  |  |  | Onsite Water Testing | [6 empty] | Visual Inspection |  |  | Comments
Site Number | Site Name | Sub Name | Sub Number | Date of Visit | Start Time of Testing | Finish Time of Testing | Time Taken at Sub Site | Weir Stage Reading | Flow | pH | Temperature | Electrical Conductivity (EC) @ 25°C | Total Dissolved Solids (TDS) | Oxidation-Reduction Potential (ORP or EH) | Dissolved Oxygen (DO) | Total Iron | Ferrous Iron | Alkalinity (to pH 4.5) | Cold Acidity (to pH 8.3) | Water Colour | Water Clarity | Odour, Smell | Comments on Data | Comments General
[5 empty] | For each sample point | For each sample point | Minutes | mm | L/s (i.e. bucket and stopwatch or flow meter) | pH units | °C | µs/cm (or ms/cm) | ppm (or mg/l) | (+ -) mV | mg/L | mg/L | mg/L | mg/L as CaCO3 | mg/L as CaCO3 | Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc | Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc | Hydrogen Sulphide (bad eggs); etc
40 | Hordon | Raw | 40.1 | 2016-08-24 |  |  | 0:30 |  | N/A |  | 17.7 | 31.1 | 22.1 | -86.4 | 7.45 | 60.4 | 0 | 390 | 263 | colourless | clear | None
40 | Hordon | Discharge | 40.4 | 2016-08-24 |  |  | 0:30 | 150 | N/A |  | 17.5 | 31.4 | 22.4 | 139.1 | 9.04 | 0.8 | 0 | 315 | 42 | colourless | clear | None
40 | Hordon | SP2 out | 40.5 | 2016-08-24 |  |  | 0:30 |  | N/A |  | 17.6 | 31.2 | 22.2 | -71.6 | 6.93 | 12.4 | 0 | 345 | 105 | medium orange | cloudy | None
40 | Hordon | SP1 out | 40.6 | 2016-08-24 |  |  | 0:30 |  | N/A |  | 17.3 | 31.1 | 22.3 | -71.5 | 7.08 | 11 | 0 | 351 | 96 | medium orange | cloudy | None
40 | Hordon | RB1 out | 40.8 | 2016-08-24 |  |  | 0:30 |  | N/A |  | 17.3 | 31.2 | 22.4 | -87.1 | 8.49 | 1.2 | 0 | 327 | 45 | pale orange | cloudy | None
40 | Hordon | Raw | 40.1 | 2016-09-29 |  |  | 0:45 |  | N/A | 6.9 | 16.3 | 30.7 | 22.7 | -83.2 | 7.23 | 61.7 | 61.4 | 387 | 232 | colourless | clear | None
40 | Hordon | Discharge | 40.4 | 2016-09-29 |  |  | 0:45 |  | N/A | 7.97 | 13.8 | 28.8 | 22 | 160.9 | 9.53 | 0.5 | 0.4 | 237 | 27 | colourless | clear | None
40 | Hordon | SP2 out | 40.5 | 2016-09-29 |  |  | 0:45 |  | N/A | 7.29 | 14.8 | 29.5 | 22.5 | -79.6 | 8.46 | 5.1 | 5 | 299 | 64 | medium orange | cloudy | None
40 | Hordon | SP1 out | 40.6 | 2016-09-29 |  |  | 0:45 |  | N/A | 7.27 | 14.9 | 29.9 | 22.6 | -80.6 | 8.21 | 8.4 | 8.4 | 281 | 77 | medium orange | cloudy | None
40 | Hordon | RB1 out | 40.8 | 2016-09-29 |  |  | 0:45 |  | N/A | 7.53 | 14.6 | 29.7 | 22.8 | -65.6 | 9.07 | 1.4 | 1.1 | 292 | 30 | pale orange | cloudy | None
40 | Horden | Raw | 40.1 | 2016-10-05 | 14:00 | 14:30 | 0:30 |  | N/A | 6.8 | 16 | 31.2 | 22.9 | -74 | 7.16 | 59.8 | 0 | 396 | 221 | Colourless. | Clear | None
40 | Horden | Discharge | 40.4 | 2016-10-05 | 13:30 | 14:00 | 0:30 | 137 | N/A | 7.6 | 13.5 | 28.5 | 22.8 | 2 | 9.12 | 0.8 | 0 | 251 | 29 | Pale orange | Clear | None
40 | Horden | SP2 out | 40.5 | 2016-10-05 | 12:30 | 13:00 | 0:30 |  | N/A | 7 | 15.1 | 30.1 | 22.8 | -57 | 8.36 | 7.4 | 0 | 284 | 91 | Medium orange | Cloudy | None
40 | Horden | SP1 out | 40.6 | 2016-10-05 | 12:00 | 12:30 | 0:30 |  | N/A | 7.1 | 15.2 | 30.4 | 22.7 | -62 | 8.16 | 9.3 | 0 | 281 | 89 | Medium orange | Cloudy | None
40 | Horden | RB1 out | 40.8 | 2016-10-05 | 13:00 | 13:30 | 0:30 |  | N/A | 7.3 | 14.8 | 28.7 | 22.9 | -26 | 8.9 | 2.2 | 0 | 264 | 35 | Pale orange | Cloudy | None
40 | Horden | SOUTH SHAFT | 40.1 | 2016-10-12 | 11:38 | 11:40 | 0:02 | 54.24 |  | 7.4 |  | 29.76 | 22.8 | 67 | 8.42 | 0.7 | 0 | 276 | 38 | Pale Orange | Clear | Non
40 | Horden | CONSENTED DISCHARGE | 40.4 | 2016-10-12 | 11:42 | 11:44 | 0:02 |  | 145 | 6.7 |  | 30.4 | 22.2 | 28 | 6.34 | 56.4 | 0 | 387 | 201 | Colourless | Clear | Slight sulpher
40 | Horden | LEFT LAGOON OUT | 40.5 | 2016-10-12 | 11:46 | 11:47 | 0:01 |  |  | 6.9 |  | 30.2 | 22.4 | 10 | 6.86 | 10.1 | 0 | 271 | 106 | Medium orange | Cloudy | None
40 | Horden | RIGHT LAGOON OUT | 40.6 | 2016-10-12 | 11:48 | 11:49 | 0:01 |  |  | 7 |  | 30.2 | 22.5 | 15 | 7.01 | 8.4 | 0 | 258 | 94 | Med orange | Cloudy | Non
40 | Horden | REED BED 1 OUT | 40.8 | 2016-10-12 | 11:51 | 11:52 | 0:01 |  |  | 7.2 |  | 30 | 22.7 | 1 | 8.26 | 1.8 | 0 | 267 | 42 | Pale orange | Clear | Non
40 | Horden | SOUTH SHAFT | 40.1 | 2016-10-26 | 13:46 | 13:48 | 0:02 | 53.4 |  | 6.8 |  | 39.62 | 41.87 | 17 | 0.84 | 81.6 | 79.1 | 391 | 207 | Colourless | Clear | None
40 | Horden | CONSENTED DISCHARGE | 40.4 | 2016-10-26 | 13:56 | 13:57 | 0:01 |  | 140 | 7.39 |  | 39.2 | 41.39 | 29.6 | 0.65 | 2.4 | 1.5 | 299 | 69 | Colourless | Clear | none
40 | Horden | LEFT LAGOON OUT | 40.5 | 2016-10-26 | 13:49 | 13:50 | 0:01 |  |  | 6.99 |  | 39.56 | 41.62 | 2 | 0.81 | 18.1 | 0 | 361 | 124 | Medium orange | Cloudy | None
40 | Horden | RIGHT LAGOON OUT | 40.6 | 2016-10-26 | 13:51 | 13:53 | 0:02 |  |  | 6.94 |  | 39.34 | 40.87 | 8 | 0.73 | 17.1 | 0 | 358 | 139 | Medium orange | Cloudy | None
40 | Horden | REED BED 1 OUT | 40.8 | 2016-10-26 | 13:54 | 13:55 | 0:01 |  |  | 7.31 |  | 39.24 | 41.27 | 21.6 | 0.7 | 3.4 | 3 | 327 | 91 | Pale orange | Cloudy | None
40 | Horden | SOUTH SHAFT | 40.1 | 2016-11-02 | 12:39 | 12:40 | 0:01 | 43.36 |  | 6.81 |  | 29.3 | 22.4 | 64.3 | 7.73 | 85.5 | 85.5 | 410 | 186 | Colourless | Clear | Slght sulpher
40 | Horden | CONSENTED DISCHARGE | 40.4 | 2016-11-02 | 12:28 | 12:30 | 0:02 |  | 132 | 7.63 |  | 36.1 | 224 | 44.3 | 11.43 | 1.6 | 1.6 | 294 | 32 | Pale orange | Clear | -
40 | Horden | LEFT LAGOON OUT | 40.5 | 2016-11-02 | 12:36 | 12:38 | 0:02 |  |  | 7.16 |  | 26.8 | 22.3 | 22.4 | 9.39 | 11 | 10.8 | 351 | 104 | Dark orange | cloudy | None
40 | Horden | RIGHT LAGOON OUT | 40.6 | 2016-11-02 | 12:34 | 12:35 | 0:01 |  |  | 7.21 |  | 26.7 | 22.3 | 2.5 | 9.45 | 11.1 | 11.1 | 362 | 100 | Dark orange | Cloudy | -
40 | Horden | REED BED 1 OUT | 40.8 | 2016-11-02 | 12:31 | 12:33 | 0:02 |  |  | 7.55 |  | 26.4 | 22.3 | 39.8 | 10.61 | 2.9 | 2.9 | 312 | 56 | Pale orange | Slightly cloudy | None
40 | Horden | SOUTH SHAFT | 40.1 | 2016-11-09 | 13:43 | 13:44 | 0:01 | 73.39 |  | 7 |  | 17.46 | 13.85 | 9.6 | 8.03 | 60 | 60 | 421 | 189 | Colourless | opaque | Slight sulpher
40 | Horden | CONSENTED DISCHARGE | 40.4 | 2016-11-09 | 13:33 | 13:35 | 0:02 |  | 85 | 7.9 |  | 17.42 | 15.1 | 54.8 | 12.18 | 0.9 | 0.9 | 328 | 51 | Colourless | Slightly cloudy | None
40 | Horden | LEFT LAGOON OUT | 40.5 | 2016-11-09 | 13:40 | 13:42 | 0:02 |  |  | 7.31 |  | 17.12 | 14.52 | 26.7 | 9.98 | 11.5 | 11.5 | 362 | 104 | Medium orange | Cloudy | None
40 | Horden | RIGHT LAGOON OUT | 40.6 | 2016-11-09 | 13:38 | 13:40 | 0:02 |  |  | 7.38 |  | 17.7 | 14.94 | 30.9 | 10.17 | 9.2 | 9.2 | 379 | 98 | Medium orange | Cloudy | None
40 | Horden | REED BED 1 OUT | 40.8 | 2016-11-09 | 13:36 | 13:38 | 0:02 |  |  | 7.58 |  | 16.88 | 14.42 | 44.9 | 11.13 | 1.6 | 1.4 | 332 | 62 | Light orange | Cloudy | None
40 | Horden | SOUTH SHAFT | 40.1 | 2016-11-18 | 13:25 | 13:27 | 0:02 | 75 |  | 7.04 |  | 19.45 | 14.87 | 10 | 6.79 | 47.3 | 47.3 | 431 | 152 | Colourless | Clear | Sulpher
40 | Horden | CONSENTED DISCHARGE | 40.4 | 2016-11-18 | 13:15 | 13:17 | 0:02 |  | 78 | 8 |  | 15.84 | 14.6 | 63.9 | 12.63 | 0.5 | 0.5 | 362 | 48 | Clear | Clear | None
40 | Horden | LEFT LAGOON OUT | 40.5 | 2016-11-18 | 13:23 | 13:25 | 0:02 |  |  | 7.57 |  | 16.62 | 14.62 | 38.9 | 10.39 | 3.6 | 3.5 | 391 | 97 | Med orange | Cloudy | None
40 | Horden | RIGHT LAGOON OUT | 40.6 | 2016-11-18 | 13:21 | 13:22 | 0:01 |  |  | 7.64 |  | 16.34 | 14.65 | 44 | 10.87 | 3.6 | 3.6 | 398 | 91 | Med orange | Cloudy | None
40 | Horden | REED BED 1 OUT | 40.8 | 2016-11-18 | 13:18 | 13:20 | 0:02 |  |  | 7.89 |  | 16.12 | 14.63 | 57.5 | 11.63 | 1.8 | 1.7 | 370 | 52 | Colourless | Clear | None
40 | HORDEN | SOUTH SHAFT | 40.1 | 2016-11-30 | 12:17 | 12:18 | 0:01 | 76.16 | - | 6.92 |  | 17.09 | 12.28 | -5.1 | 7.13 | 42.3 | 42.3 | 387 | 112 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2016-11-30 | 12:08 | 12:10 | 0:02 | - | 78 | 8.02 |  | 14.18 | 12.69 | -66.1 | 12.63 | 0.7 | 0.5 | 324 | 39 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2016-11-30 | 12:15 | 12:16 | 0:01 | - | - | 7.42 |  | 15.06 | 12.46 | -32.5 | 10.14 | 3.9 | 3.9 | 380 | 62 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2016-11-30 | 12:13 | 12:14 | 0:01 | - | - | 7.48 |  | 14.98 | 12.48 | -35.7 | 10.5 | 4.3 | 4 | 385 | 60 | Medium orange | Oily | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2016-11-30 | 12:11 | 12:12 | 0:01 | - | - | 7.82 |  | 14.65 | 12.53 | -54.3 | 11.65 | 1 | 1 | 371 | 59 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2016-12-07 | 12:24 | 12:26 | 0:02 | 75.96 | - | 7.02 | 14.8 | 16.12 | 11.65 | -10.1 | 5.58 | 40.2 | 40.2 | 412 | 196 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2016-12-07 | 12:15 | 12:17 | 0:02 | - | 83 | 7.93 | 10.3 | 14.7 | 11.67 | -60.7 | 11.58 | 1.1 | 1.1 | 361 | 92 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2016-12-07 | 12:22 | 12:23 | 0:01 | - | - | 7.54 | 11 | 15.05 | 11.81 | -39.5 | 10.44 | 1.7 | 1.7 | 364 | 121 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2016-12-07 | 12:20 | 12:21 | 0:01 | - | - | 7.63 | 10.9 | 15.04 | 11.83 | -44.4 | 10.65 | 1.8 | 1.7 | 370 | 120 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2016-12-07 | 12:17 | 12:19 | 0:02 | - | - | 7.91 | 10.7 | 15 | 11.87 | -59.7 | 10.83 | 1 | 0.7 | 352 | 91 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2016-12-16 | 12:10 | 12:12 | 0:02 | 74.5 | - | 6.99 | 14.5 | 16.07 | 11.51 | -12.4 | 7.81 | 41.8 | 41.8 | 421 | 187 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2016-12-16 | 12:01 | 12:03 | 0:02 | - | 80 | 7.89 | 10 | 14.95 | 11.72 | -65.8 | 10.91 | 1.4 | 1.3 | 352 | 104 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2016-12-16 | 12:08 | 12:10 | 0:02 | - | - | 7.41 | 10.9 | 15.26 | 11.63 | -27.4 | 9.83 | 1.9 | 1.9 | 384 | 147 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2016-12-16 | 12:06 | 12:08 | 0:02 | - | - | 7.5 | 10.9 | 15.11 | 11.7 | -37.1 | 10.1 | 1.7 | 1.7 | 372 | 142 | Light orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2016-12-16 | 12:03 | 12:05 | 0:02 | - | - | 7.86 | 10.6 | 15.05 | 11.84 | -61.7 | 10.64 | 0.9 | 0.6 | 348 | 116 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2016-12-23 | 12:15 | 12:17 | 0:02 | 71.69 | - | 7.01 | 14.1 | 16.29 | 11.42 | -7.9 | 6.81 | 40.8 | 40.8 | 417 | 136 | Colourless | Clear | Sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2016-12-23 | 12:06 | 12:07 | 0:01 | - | 81 | 7.9 | 9.5 | 14.82 | 11.81 | -81.4 | 10.81 | 1.4 | 1.4 | 337 | 91 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2016-12-23 | 12:13 | 12:15 | 0:02 | - | - | 7.48 | 9.8 | 15.34 | 11.59 | -28.6 | 9.81 | 2.4 | 2.1 | 379 | 124 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2016-12-23 | 12:11 | 12:12 | 0:01 | - | - | 7.5 | 9.8 | 15.4 | 11.43 | -31.4 | 10.02 | 2.1 | 2.1 | 361 | 121 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2016-12-23 | 12:08 | 12:10 | 0:02 | - | - | 7.8 | 9.6 | 15.03 | 11.79 | -49.3 | 10.74 | 0.8 | 0.7 | 342 | 103 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2016-12-29 | 14:12 | 14:16 | 0:04 | 75 | - | 6.68 | 13.5 | 10.59 | 7.81 | 59.5 | 4.08 | 28.6 | 28.6 | 520 | 137 | clear | clear | none | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2016-12-29 | 14:19 | 14:22 | 0:03 | - | 87 | 8.17 | 0.9 | 7.52 | 7.69 | 161.9 | 13.62 | 0 | 0 | 467 | 18 | clear | clear | none | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2016-12-29 | 14:33 | 14:35 | 0:02 | - | - | 8.1 | 4.9 | 8.75 | 7.8 | 213.8 | 11.65 | 1.3 | 1.2 | 455 | 22 | pale orange | cloudy | none | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2016-12-29 | 14:36 | 14:39 | 0:03 | - | - | 8.07 | 5.4 | 8.73 | 7.67 | 234.9 | 11.81 | 1.4 | 1.1 | 473 | 18 | pale orange | cloudy | none | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2016-12-29 | 14:29 | 14:32 | 0:03 | - | - | 8.15 | 3.2 | 8.19 | 7.68 | 182 | 12.82 | 0.2 | 0.2 | 468 | 20 | very pale yellow | slightly cloudy | none | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-01-04 | 12:50 | 12:52 | 0:02 | 43.3 | - | 6.91 | 13.9 | 15.81 | 11.84 | -9.6 | 7.72 | 44.1 | 44.1 | 489 | 221 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-01-04 | 12:41 | 12:42 | 0:01 | - | 121 | 8.2 | 8.7 | 15.2 | 11.84 | -46.2 | 10.15 | 3.8 | 3.8 | 379 | 99 | Clear | Slighty cloudy | NONE | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-01-04 | 12:48 | 12:50 | 0:02 | - | - | 7.8 | 10.8 | 15.29 | 11.9 | -28.9 | 9.84 | 3.4 | 3.2 | 427 | 196 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-01-04 | 12:46 | 12:47 | 0:01 | - | - | 8 | 10.6 | 15.2 | 11.9 | -30.1 | 9.95 | 3.2 | 3.2 | 420 | 191 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-01-04 | 12:43 | 12:45 | 0:02 | - | - | 8.1 | 9.1 | 15.15 | 11.96 | -43.1 | 10.12 | 2.7 | 2.1 | 376 | 104 | Very feint orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-01-13 | 13:23 | 13:24 | 0:01 | 41.7 | - | 6.89 | 12.4 | 16.01 | 11.21 | 17.1 | 6.72 | 42.1 | 42.1 | 421 | 187 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-01-13 | 13:13 | 13:15 | 0:02 | - | 125 | 8.1 | 6.9 | 15.32 | 11.74 | -52.6 | 10.02 | 3.2 | 3.1 | 359 | 84 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-01-13 | 13:21 | 13:22 | 0:01 | - | - | 7.4 | 9.8 | 15.74 | 11.11 | -21.9 | 8.84 | 6.8 | 6.5 | 389 | 146 | Dark orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-01-13 | 13:18 | 13:20 | 0:02 | - | - | 7.5 | 9.6 | 15.73 | 11.01 | 30.4 | 8.92 | 6.6 | 6.6 | 370 | 138 | Dark orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-01-13 | 13:16 | 13:17 | 0:01 | - | - | 8 | 8.1 | 15.49 | 11.52 | -67.2 | 9.87 | 2.3 | 2 | 362 | 102 | Colourless | Slightly cloudy | none | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-01-20 | 13:52 | 13:54 | 0:02 | 41.7 | - | 6.98 | 13.1 | 15.96 | 11.79 | 11.4 | 7.61 | 44.4 | 44.4 | 419 | 192 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-01-20 | 13:42 | 13:43 | 0:01 | - | 112 |  | 8.9 | 15.42 | 11.17 | -52.9 | 9.86 | 2.3 | 2.1 | 340 | 92 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-01-20 | 13:50 | 13:51 | 0:01 | - | - | 7.36 | 11.4 | 15.79 | 8.29 | -23.7 | 8.29 | 5.9 | 5.7 | 390 | 172 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-01-20 | 13:47 | 13:49 | 0:02 | - | - | 7.42 | 11.4 | 15.62 | 11.48 | -30.1 | 8.01 | 5.6 | 5.5 | 385 | 160 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-01-20 | 13:44 | 13:46 | 0:02 | - | - | 7.62 | 10.5 | 15.48 | 11.43 | -53.3 | 8.42 | 3.4 | 3.4 | 371 | 121 | Colourless | Slightley cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-01-25 | 13:21 | 13:23 | 0:02 | 41.7 | - | 6.96 | 14.7 | 20.85 | 8.14 | -7.5 | 15.46 | 50.6 | 50.6 | 467 | 182 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-01-25 | 13:32 | 13:35 | 0:03 | - | 117 | 8 | 8.6 | 17.63 | 11.67 | -63.9 | 14.99 | 1.3 | 1.3 | 350 | 107 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-01-25 | 13:24 | 13:25 | 0:01 | - | - | 7.46 | 9.8 | 18.21 | 9.96 | -34.7 | 15.05 | 3 | 2.7 | 402 | 151 | Light orange | - | Cloudy | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-01-25 | 13:26 | 13:28 | 0:02 | - | - | 7.61 | 9.7 | 18.17 | 10.56 | 42.9 | 15.08 | 2.3 | 2.3 | 378 | 140 | Light orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-01-25 | 13:29 | 13:31 | 0:02 | - | - | 7.93 | 9 | 17.86 | 11.55 | -60.2 | 15.03 | 3.8 | 3.8 | 352 | 114 | Colourless | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-02-10 | 12:59 | 13:01 | 0:02 | - | 41.7 | 6.95 | 14.7 | 22.1 | 16.42 | -6.7 | 8.23 | 54.4 | 54.4 | 423 | 189 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-02-10 | 12:48 | 12:50 | 0:02 | 120 | - | 7.97 |  | 17.6 | 15.7 | -62 | 12.63 | 1 | 0.8 | 423 | 96 | Colourless | Clear | N one | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-02-10 | 12:57 | 12:58 | 0:01 | - | - | 7.61 | 7.8 | 18.23 | 15.95 | -38.4 | 10.15 | 4.9 | 4.9 | 395 | 174 | Medium orange | Cloudy | none | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-02-10 | 12:54 | 12:56 | 0:02 | - | - | 7.57 | 7.9 | 18.28 | 15.92 | -38.9 | 10.38 | 3.8 | 3.8 | 399 | 178 | Medium orange | Turbid | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-02-10 | 12:51 | 12:53 | 0:02 | - | - | 7.95 | 7.3 | 17.93 | 15.85 | -61.2 | 11.9 | 1.3 | 1.3 | 356 | 120 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-02-16 | 13:47 | 13:49 | 0:02 | - | 41.7 | 7 | 13.8 | 19.72 | 9.01 | -20.4 | 9.82 | 56.9 | 56.9 | 407 | 142 | Colourless | Clear | Slight sulpher/metallic | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-02-16 | 13:35 | 13:37 | 0:02 | 115 | - | 8.1 | 7.4 | 16.14 | 15.9 | -65.7 | 13.49 | 2.4 | 1.9 | 362 | 112 | Slightly orange | Slightly cloudy | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-02-16 | 13:45 | 13:46 | 0:01 | - | - | 7.4 | 9.7 | 16.48 | 12.22 | -30.2 | 11.92 | 7.5 | 7.2 | 394 | 132 | Dark orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-02-16 | 13:42 | 13:44 | 0:02 | - | - | 7.39 | 9.6 | 16.25 | 12.49 | -31.4 | 11.82 | 7.2 | 7.2 | 396 | 120 | Dark orange | Turbid | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-02-16 | 13:39 | 13:41 | 0:02 | - | - | 7.72 | 7.9 | 15.98 | 14.69 | -60.1 | 12.14 | 4.8 | 4.8 | 384 | 121 | Medium orange | Turbid | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-02-22 | 10:52 | 10:54 | 0:02 | - | 41.5 | 6.97 | 15 | 22.7 | 16.67 | -8.3 | 8.16 | 58.7 | 58.5 | 392 | 151 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-02-22 | 10:39 | 10:43 | 0:04 | 105 | - | 8.02 | 7.5 | 18.7 | 16.47 | -65 | 11.77 | 2.4 | 2.1 | 350 | 96 | Colourless | Slightly cloudy (very windy) | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-02-22 | 10:50 | 10:52 | 0:02 | - | - | 7.62 | 9.5 | 19.79 | 16.61 | -43.6 | 9.93 | 3.2 | 0 | 370 | 109 | Medium orange | Turbid | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-02-22 | 10:47 | 10:49 | 0:02 | - | - | 7.67 | 9.7 | 19.86 | 16.6 | -45.5 | 10.28 | 2.6 | 2.6 | 362 | 95 | medium orange | Turbid | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-02-22 | 10:44 | 10:46 | 0:02 | - | - | 7.95 | 8.7 | 19.36 | 16.59 | -61.5 | 11.13 | 1.6 | 1.5 | 341 | 82 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-03-01 | 12:16 | 12:18 | 0:02 | - | 40 | 7 | 14.8 | 21.89 | 15.72 | -10.8 | 9.01 | 57.7 | 57.7 | 424 | 178 | Colourless | Clear | Metallic | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-03-01 | 12:07 | 12:08 | 0:01 | 113 | - | 8 | 7.6 | 18.78 | 17.2 | -62.7 | 10.91 | 1.9 | 0 | 351 | 94 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-03-01 | 12:14 | 12:15 | 0:01 | - | - | 7.51 | 9.6 | 19.42 | 16.49 | -38.6 | 9.87 | 4.3 | 4.1 | 400 | 127 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-03-01 | 12:11 | 12:13 | 0:02 | - | - | 7.63 | 9.4 | 19.64 | 17.01 | -38.8 | 9.94 | 3.4 | 0 | 394 | 114 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-03-01 | 12:09 | 12:10 | 0:01 | - | - | 7.87 | 8.2 | 19.26 | 16.97 | -58.9 | 10.89 | 2 | 1.9 | 378 | 90 | Colourless | Slightly turbid | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-03-01 | 12:07 | 12:08 | 0:01 | 113 | - | 8 | 7.6 | 18.78 | 17.2 | -62.7 | 10.91 | 1.9 | 0 | 351 | 94 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-03-01 | 12:14 | 12:15 | 0:01 | - | - | 7.51 | 9.6 | 19.42 | 16.49 | -38.6 | 9.87 | 4.3 | 4.1 | 400 | 127 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-03-01 | 12:09 | 12:10 | 0:01 | - | - | 7.87 | 8.2 | 19.26 | 16.97 | -58.9 | 10.89 | 2 | 1.9 | 378 | 90 | Colourless | Slightly turbid | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-03-01 | 12:11 | 12:13 | 0:02 | - | - | 7.63 | 9.4 | 19.64 | 17.01 | -38.8 | 9.94 | 3.4 | 0 | 394 | 114 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-03-01 | 12:16 | 12:18 | 0:02 | - | 40 | 7 | 14.8 | 21.89 | 15.72 | -10.8 | 9.01 | 57.7 | 57.7 | 424 | 178 | Colourless | Clear | Metallic | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-03-10 | 11:59 | 12:00 | 0:01 | 110 | - | 7.94 | 7.8 | 18.72 | 16.31 | -62.24 | 11.36 | 1.3 | 1.2 | 361 | 85 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-03-10 | 12:06 | 12:07 | 0:01 | - | - | 7.56 | 9.9 | 20.24 | 16.7 | -38.6 | 8.81 | 3.6 | 3.6 | 389 | 124 | Medium orange | Turbid | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-03-10 | 12:01 | 12:02 | 0:01 | - | - | 7.84 | 8.5 | 19.42 | 16.48 | -58.91 | 10.84 | 1.4 | 1.2 | 362 | 90 | Colourless | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-03-10 | 12:03 | 12:05 | 0:02 | - | - | 7.6 | 9.5 | 19.96 | 16.62 | -40.7 | 9.61 | 3 | 3 | 371 | 120 | Medium orange | Turbid | none | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-03-10 | 12:48 | 12:50 | 0:02 | - | 41.7 | 6.92 | 15.2 | 22.65 | 16.78 | -62.24 | 8.22 | 57.9 | 57.5 | 400 | 169 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-03-17 | 12:44 | 12:46 | 0:02 | 113 | - | 7.91 | 7.9 | 19.02 | 16.49 | -61.2 | 11.59 | 1.8 | 1.8 | 347 | 90 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-03-17 | 12:51 | 12:53 | 0:02 | - | - | 7.53 | 12.8 | 19.99 | 16.72 | -38.7 | 8.97 | 3.9 | 3.5 | 393 | 114 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-03-17 | 12:46 | 12:48 | 0:02 | - | - | 7.89 | 9.1 | 19.52 | 16.59 | -59.3 | 10.23 | 2 | 1.5 | 359 | 101 | Colourless | Clear | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-03-17 | 12:48 | 12:50 | 0:02 | - | - | 7.61 | 12.5 | 19.85 | 16.66 | -41.5 | 9.18 | 3.5 | 3.1 | 387 | 110 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-03-17 | 12:53 | 12:55 | 0:02 | - | 41.7 | 6.91 | 14.8 | 22.67 | 16.89 | -6.4 | 8.24 | 60.1 | 60.1 | 420 | 148 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-03-24 | 13:41 | 13:50 | 0:09 | 110 | - | 7.25 | 8 | 22.2 | 16.02 | 18 | 10.11 | 0.8 | 0.8 | 354 | 86 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-03-24 | 13:30 | 13:33 | 0:03 | - | - | 6.63 | 13 | 22.7 | 16.2 | -20 | 8.24 | 2.1 | 2.1 | 402 | 134 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-03-24 | 13:38 | 13:41 | 0:03 | - | - | 7.08 | 10 | 22.67 | 16.06 | -7 | 10.05 | 1 | 1 | 368 | 99 | CLEAR | NONE | NONE | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-03-24 | 13:34 | 13:37 | 0:03 | - | - | 8.23 | 13 | 22.8 | 16.21 | -17 | 8.23 | 4.6 | 4.6 | 390 | 128 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-03-24 | 13:23 | 13:29 | 0:06 | - | 41 | 6.39 | 14.5 | 23.2 | 16.25 | -33 | 7.68 | 32.1 | 32.1 | 470 | 158 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-04-04 | 12:52 | 12:55 | 0:03 | - | - | 6.31 | 15 | 24 | 16.08 | -145 | 7.55 | 43.9 | 43.9 | 423 | 162 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-04-04 | 13:22 | 13:25 | 0:03 | 115 | - | 6.99 | 11 | 23.2 | 16.32 | 17.5 | 9.95 | 0.6 | 0.6 | 345 | 39 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-04-04 | 12:56 | 13:00 | 0:04 | - | - | 6.58 | 13 | 22.9 | 16.02 | -4.2 | 7.88 | 5.1 | 5.1 | 401 | 115 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-04-04 | 13:02 | 13:05 | 0:03 | - | - | 6.59 | 13 | 22.9 | 16.24 | -2.2 | 8.22 | 5.7 | 5.7 | 394 | 97 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-04-04 | 13:12 | 13:16 | 0:04 | - | - | 6.99 | 12 | 23 | 16.3 | 10.5 | 9.41 | 1.5 | 1.5 | 356 | 48 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-04-13 | 11:49 | 11:51 | 0:02 | - | 40 | 6.81 | 15.3 | 22.31 | 16.32 | -42.8 | 7.12 | 51.6 | 50.4 | 411 | 179 | Colourless | Clear | Sulphur | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-04-13 | 11:39 | 11:41 | 0:02 | 115 | - | 7.74 | 11.4 | 21.22 | 15.9 | 21.4 | 8.89 | 2.4 | 2 | 346 | 111 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-04-13 | 11:46 | 11:48 | 0:02 | - | - | 6.99 | 12.8 | 22.04 | 16.14 | -11.2 | 7.84 | 7.6 | 7.6 | 400 | 160 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-04-13 | 11:44 | 11:46 | 0:02 | - | - | 7.14 | 12.5 | 21.87 | 16.02 | -7.6 | 8.11 | 6.9 | 6.9 | 395 | 152 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-04-13 | 11:42 | 11:43 | 0:01 | - | - | 7.52 | 11.8 | 21.36 | 15.96 | 17.4 | 9.67 | 1.1 | 1 | 369 | 127 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-04-21 | 13:22 | 13:25 | 0:03 | - | 40 | 6.7 | 15 | 23.63 | 16.45 | -48 | 7.28 | 57.2 | 57.3 | 460 | - | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-04-21 | 13:43 | 13:45 | 0:02 | 115 | - | 8.48 | 11 | 21.76 | 16.07 | 34 | 8.48 | 1.5 | 1.5 | 329 | 99 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-04-21 | 13:25 | 13:28 | 0:03 | - | - | 6.9 | 13 | 22.28 | 16.23 | -38 | 7.65 | 2.5 | 2.5 | 411 | 186 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-04-21 | 13:33 | 13:36 | 0:03 | - | - | 7.3 | 12 | 21.88 | 16.09 | 2 | 8.19 | 1.6 | 1.6 | 362 | 128 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-04-21 | 13:29 | 13:32 | 0:03 | - | - | 7.1 | 13 | -10 | 16.11 | -10 | 8.08 | 2.1 | 2.1 | 164 | 381 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-04-27 | 13:35 | 13:38 | 0:03 | - | 38.3 | 6.6 | 17 | 22.65 | 16.51 | -47 | 7.2 | 38.9 | 38.9 | 458 | 210 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-04-27 | 13:59 | 14:01 | 0:02 | 110 | - | 7.28 | 11 | 22.06 | 16.07 | 18 | 7.11 | 1 | 1 | 368 | 86 | clear | clear | none | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-04-27 | 13:43 | 13:54 | 0:11 | - | - | 6.8 | 14 | 22.45 | 16.22 | -28 | 7.38 | 3.4 | 3.4 | 416 | 128 | orange | clear | none | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-04-27 | 13:55 | 13:58 | 0:03 | - | - | 7.41 | 12 | 22.41 | 16.18 | -20 | 7.41 | 3.1 | 3.1 | 410 | 119 | orange | cloudy | none | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-04-27 | 13:39 | 13:42 | 0:03 | - | - | 7.38 | 14 | 22.45 | 16.22 | -28 | 7.38 | 3.4 | 3.4 | 416 | 128 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-05-05 | 13:35 | 13:36 | 0:01 | - | 40.1 | 6.82 | 16.3 | 22.91 | 16.24 | -39.1 | 6.89 | 56.3 | 56.3 | 427 | 200 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-05-05 | 13:26 | 13:27 | 0:01 | 106 | - | 7.9 | 11.4 | 22.01 | 15.7 | 10.1 | 7.82 | 1.3 | 1.3 | 365 | 107 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-05-05 | 13:33 | 13:34 | 0:01 | - | - | 6.96 | 13.6 | 22.73 | 7.34 | -20.9 | 7.34 | 4.9 | 4.5 | 391 | 180 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-05-05 | 13:30 | 13:32 | 0:02 | - | - | 7.01 | 13.5 | 22.52 | 16.01 | -18.4 | 7.59 | 4.5 | 4 | 383 | 178 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-05-05 | 13:28 | 13:30 | 0:02 | - | - | 7.49 | 12.3 | - | 15.82 | -12.9 | 7.76 | 1.5 | 1.4 | 371 | 151 | Colourless | Clear | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-05-10 | 12:11 | 12:13 | 0:02 | - | 40 | 6.7 | 16.8 | 22.79 | 16.81 | -58.3 | 6.92 | 48.4 | 48.4 | 450 | 216 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-05-10 | 12:01 | 12:02 | 0:01 | 110 | - | 7.8 | 11.3 | 22.22 | 15.84 | 29.1 | 7.9 | 1.5 | 1.4 | 359 | 101 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-05-10 | 12:09 | 12:11 | 0:02 | - | - | 6.9 | 15.6 | 22.67 | 16.59 | -34.4 | 7.24 | 3.9 | 3.5 | 419 | 181 | Medium orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-05-10 | 12:07 | 12:08 | 0:01 | - | - | 7.1 | 15.4 | 22.52 | 16.48 | -30.9 | 7.25 | 3.5 | 3.2 | 406 | 173 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-05-10 | 12:05 | 12:06 | 0:01 | - | - | 7.5 | 12.7 | 22.34 | 16.17 | -12.8 | 7.84 | 1.9 | 1.9 | 384 | 122 | Light orange | Turbid | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-05-18 | 11:58 | 12:00 | 0:02 | 110 | - | 7.6 | - | 22.38 | 16.1 | 28.7 | 7.46 | 1.7 | 1.7 | 364 | 125 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-05-18 | 12:06 | 12:08 | 0:02 | - | - | 6.9 | 15 | - | 16.72 | -39.4 | 6.81 | 6.2 | 5.8 | 410 | 161 | Medium orange | Turbid | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-05-18 | 12:01 | 12:03 | 0:02 | - | - | - | 14.7 | 22.7 | 16.52 | -14.9 | 7.29 | 1.8 | 1.7 | 380 | 131 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-05-18 | 12:04 | 12:05 | 0:01 | - | - | 7 | 15 | 22.65 | 16.65 | -38.2 | 6.99 | 5.8 | 5.6 | 398 | 154 | Medium orange | Turbid | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-05-18 | 12:09 | 12:10 | 0:01 | - | 40 | 6.87 | 16.4 | 22.87 | 16.94 | -63.1 | 5.49 | 52.1 | 52.1 | 427 | 186 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-05-25 | 12:15 | 12:19 | 0:04 | 110 | - | 7.5 | 13 | 22 | 16.5 | 14 | 7.3 | 1.5 | 1.5 | 371 | 132 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-05-25 | 12:07 | 12:10 | 0:03 | - | - | 6.9 | 15 | 22.86 | 16.74 | -40 | 6.4 | 5.8 | 5.8 | 421 | 188 | ORANGE | ORANGE | NONE | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-05-25 | 11:59 | 12:06 | 0:07 | - | - | 7.3 | 14.5 | -9 | 16.54 | -40 | 6.4 | 2.4 | 2.4 | 421 | 188 | ORANGE | ORANGE | NONE | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-05-25 | 12:11 | 12:15 | 0:04 | - | - | 6.9 | 15 | 22.71 | 16.67 | -36 | 6.81 | 5.6 | 5.6 | 395 | 180 | ORANGE | ORANGE | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-05-25 | 11:55 | 11:58 | 0:03 | - | 40 | 6.79 | 16.9 | 22.91 | 16.9 | -58 | 5.3 | 49 | 49 | 464 | 202 | CLEAR | CLEAR | NONE | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-05-31 | 12:20 | 12:23 | 0:03 | 107 | - | 7.9 | 13.5 | 22.24 | 17.09 | 16.2 | 7.23 | 0.9 | 0.7 | 368 | 149 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-05-31 | 12:33 | 12:35 | 0:02 | - | - | 7.7 | 11.9 | 22.84 | 17.5 | -40.2 | 6.5 | 5.9 | 5.8 | 390 | 178 | Medium orange | Cloudy | none | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-05-31 | 12:24 | 12:27 | 0:03 | - | - | 7.8 | 12.8 | 22.1 | 17.29 | 24.9 | 6.79 | 1.8 | 1.5 | 381 | 160 | Colourless | Clear | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-05-31 | 12:28 | 12:32 | 0:04 | - | - | 7.7 | 12 | 22.79 | 17.35 | -36.1 | 6.59 | 5.5 | 5.5 | 388 | 174 | Medium orange | Cloudy | none | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-05-31 | 12:36 | 12:38 | 0:02 | - | 40 | 7 | 11.8 | 22.95 | 17.11 | -49.2 | 6.21 | 50.2 | 50.2 | 414 | 183 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-06-08 | 12:15 | 12:16 | 0:01 | 110 | - | 6.81 | 11.9 | 22.91 | 17.62 | 21.6 | 5.84 | 49.6 | 49.6 | 426 | 194 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-06-08 | 12:24 | 12:25 | 0:01 | - | - | 6.95 | 12.4 | 22.78 | 17.31 | -17.8 | 6.32 | 5.1 | 4.9 | 401 | 162 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-06-08 | 12:17 | 12:19 | 0:02 | - | - | 7.3 | 13.1 | 22.52 | 16.82 | -34.6 | 7.13 | 1.8 | 1.5 | 372 | 114 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-06-08 | 12:20 | 12:22 | 0:02 | - | - | 7 | 12.8 | 22.71 | 17.1 | -20.4 | 6.59 | 4.9 | 4.9 | 391 | 150 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-06-08 | 13:02 | 13:04 | 0:02 | - | 40 | 6.81 | 11.9 | 22.91 | 17.62 | 21.6 | 5.84 | 49.6 | 49.6 | 426 | 194 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-06-15 | 15:15 | 15:17 | 0:02 | 108 | - | 7.8 | 14.1 | 22.21 | 16.79 | 22.9 | 7.48 | 0.9 | 0.9 | 360 | 94 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-06-15 | 15:22 | 15:24 | 0:02 | - | - | 6.9 | 16 | 22.86 | 17.56 | -32.6 | 6.21 | 5.7 | 5.7 | 400 | 184 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-06-15 | 15:18 | 15:19 | 0:01 | - | - | 7.3 | 14.5 | 22.46 | 16.84 | -7 | 6.97 | 2.2 | 2 | 361 | 114 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-06-15 | 15:20 | 15:22 | 0:02 | - | - | 6.9 | 15.8 | 22.8 | 17.32 | -30.2 | 6.32 | 5.5 | 5.3 | 387 | 179 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-06-15 | 15:25 | 15:27 | 0:02 | - | 40 | 6.7 | 16.4 | 23.21 | 17.89 | -61.2 | 4.8 | 51.2 | 51.2 | 411 | 207 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-06-22 | 12:32 | 12:35 | 0:03 | 113 | - | 7.82 | 19 | 25.1 | 16.92 | -57.4 | 7.82 | 0.6 | 0.5 | 332 | 87 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-06-22 | 12:39 | 12:41 | 0:02 | - | - | 7.18 | 18.7 | 24.9 | 16.88 | -20.1 | 7.44 | 7.2 | 7 | 381 | 135 | Medium orange | Turbid | N0ne | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-06-22 | 12:35 | 12:37 | 0:02 | - | - | 7.65 | 19.1 | 25 | 16.85 | -46.4 | 7.65 | 0.9 | 0.9 | 351 | 92 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-06-22 | 12:37 | 12:39 | 0:02 | - | - | 7.26 | 18.7 | 24.9 | 16.92 | -24.3 | 7.46 | 5.2 | 5.1 | 375 | 121 | Medium orange | Turbid | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-06-22 | 12:41 | 12:43 | 0:02 | - | 40 | 6.96 | 16.8 | 24 | 16.91 | -7.2 | 7.22 | 59 | 59 | 425 | 162 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-06-29 | 11:50 | 11:51 | 0:01 | 110 | - | 7.89 | 18.2 | 25.21 | 17.2 | -52.8 | 8.46 | 0.7 | 0.7 | 351 | 96 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-06-29 | 11:57 | 11:58 | 0:01 | - | - | 7.2 | 17 | 24.62 | 16.9 | -19.5 | 7.48 | 6.9 | 6.5 | 396 | 142 | Dark orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-06-29 | 11:52 | 11:53 | 0:01 | - | - | 7.71 | 17.8 | 25.1 | 16.95 | -38.4 | 7.92 | 1 | 0.7 | 368 | 117 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-06-29 | 11:54 | 11:56 | 0:02 | - | - | 7.2 | 17.2 | 24.71 | 16.96 | -21.4 | 7.51 | 6 | 5.8 | 380 | 138 | Dark orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-06-29 | 12:20 | 12:22 | 0:02 | - | 40 | 6.89 | 16.4 | 23.92 | 16.84 | 10.2 | 6.59 | 57.3 | 57.3 | 411 | 187 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-07-07 | 13:30 | 13:31 | 0:01 | 110 | - | 7.91 | 18.9 | 24.98 | 16.95 | -51.8 | 7.89 | 0.7 | 0.5 | 349 | 99 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-07-07 | 13:38 | 13:47 | 0:09 | - | - | 7.1 | 17.1 | 24.82 | 16.93 | 17.5 | 7.36 | 6.8 | 6.4 | 401 | 187 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-07-07 | 13:32 | 13:34 | 0:02 | - | - | 7.59 | 18.4 | 25.1 | 16.96 | 40.9 | 7.71 | 0.8 | 0.8 | 367 | 128 | Colourless | Clear | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-07-07 | 13:35 | 13:37 | 0:02 | - | - | 7.1 | 17.3 | 24.94 | 16.94 | -20.2 | 7.45 | 5.3 | 5 | 396 | 172 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-07-07 | 13:52 | 13:54 | 0:02 | - | 40 | 6.91 | 16.5 | 24.12 | 16.87 | -5.3 | 6.82 | 58.3 | 57.8 | 422 | 209 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-07-12 | 13:24 | 13:26 | 0:02 | 110 | - | 7.8 | 19.1 | 25.19 | 16.84 | -42.6 | 7.89 | 1.5 | 1.5 | 350 | 92 | Colourless | Slightly cloudy due to breeze | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-07-12 | 13:32 | 13:34 | 0:02 | - | - | 7.1 | 17.1 | 24.62 | 16.84 | -14.7 | 7.21 | 8.1 | 7.5 | 402 | 135 | Medium orange | Cloudy | none | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-07-12 | 13:27 | 13:29 | 0:02 | - | - | 7.6 | 18.5 | 25.21 | 16.99 | -37.7 | 16.99 | 0.9 | 0.9 | 362 | 104 | Light orange | Cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-07-12 | 13:30 | 13:32 | 0:02 | - | - | 7.1 | 17.3 | 24.7 | 16.9 | -15.9 | 7.34 | 6.2 | 6 | 395 | 127 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-07-12 | 13:35 | 13:36 | 0:01 | - | 40 | 6.89 | 16.9 | 24.07 | 17.21 | -5.9 | 6.84 | 60.1 | 60.1 | 418 | 159 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-07-21 | 14:22 | 14:24 | 0:02 | 103 | - | 7.8 | 17.3 | 19.85 | 16.78 | -15.6 | 11.29 | 1.1 | 1.1 | 329 | 80 | colourless | clear | none | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-07-21 | 14:11 | 14:14 | 0:03 | - | - | 7.5 | 15.8 | 19.59 | 16.88 | -38.4 | 9.14 | 1.8 | 1.8 | 399 | 124 | orange | cloudy | none | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-07-21 | 14:18 | 14:21 | 0:03 | - | - | 7.8 | 16.2 | 19.69 | 16.52 | -13.9 | 10.27 | 1 | 1 | 351 | 96 | plale orange | cloudy | none | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-07-21 | 14:15 | 14:17 | 0:02 | - | - | 7.5 | 15.7 | 19.56 | 16.74 | -39.2 | 9.25 | 1.9 | 1.8 | 387 | 110 | orange | cloudy | none | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-07-21 | 14:05 | 14:10 | 0:05 | - | 38 | 6.88 | 14.5 | 19.06 | 17.4 | -64.2 | 6.89 | 42 | 42 | 411 | 169 | colourless | clear | none | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-07-27 | 13:21 | 13:23 | 0:02 | 110 | - | 7.95 | 18 | 24.79 | 16.11 | -53.4 | 6.9 | 1 | 0.8 | 326 | 81 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-07-27 | 13:27 | 13:29 | 0:02 | - | - | 7.35 | 18 | 24.21 | 16.91 | -46.3 | 8.42 | 5.6 | 5.1 | 386 | 131 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-07-27 | 13:23 | 13:25 | 0:02 | - | - | 7.62 | 17.4 | 24.82 | 16.23 | -20.2 | 9.04 | 1.1 | 1.1 | 342 | 96 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-07-27 | 13:26 | 13:27 | 0:01 | - | - | 7.4 | 16 | 24.5 | 16.73 | -45.2 | 8.52 | 5.1 | 4.8 | 380 | 130 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-07-27 | 13:30 | 13:31 | 0:01 | - | 40 | 6.84 | 15.3 | 23.86 | 17.18 | -53.4 | 6.9 | 48.4 | 48.4 | 405 | 165 | colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 2017-08-02 | 13:50 | 13:51 | 0:01 | 105 | - | 7.87 | 17.1 | 24.7 | 16.37 | -11.5 | 9.23 | 0.9 | 0.7 | 307 | 96 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 2017-08-02 | 13:57 | 13:58 | 0:01 | - | - | 7.29 | 16.1 | 24.16 | 17.26 | -37.2 | 8.04 | 5.9 | 5.4 | 337 | 114 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 2017-08-02 | 13:52 | 13:54 | 0:02 | - | - | 7.69 | 16.8 | 24.62 | 16.78 | -29.4 | 8.72 | 1.2 | 1.1 | 320 | 106 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 2017-08-02 | 13:55 | 13:56 | 0:01 | - | - | 7.3 | 16.2 | 24.24 | 17.04 | -35 | 8.14 | 5.4 | - | 326 | 110 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 2017-08-02 | 13:59 | 14:01 | 0:02 | - | 40 | 6.81 | 15.8 | 24.07 | 18.48 | -49.6 | 7.38 | 46.2 | 46.2 | 387 | 142 | Colourless | Clear | Slight sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 11/08/2017 | 12:10 | 12:13 | 0:03 | 110 | - | 7.64 | 14.5 | 17.94 | 12.6 | 196.7 | 9.45 | 0.3 | 0.3 | 372 | 40 | Colourless | clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 11/08/2017 | 12:27 | 12:30 | 0:03 | - | - | 7.11 | 15.3 | 17.98 | 12.68 | -29.7 | 7.95 | 1.8 | 1.8 | 356 | 50 | Orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 11/08/2017 | 12:19 | 12:22 | 0:03 | - | - | 7.7 | 15.2 | 17.98 | 12.65 | 186.5 | 9.37 | 1.9 | 1.8 | 378 | 41 | Pale orange | Slightly cloudy | none | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 11/08/2017 | 12:23 | 12:27 | 0:04 | - | - | 7.13 | 15.2 | 17.9 | 12.64 | -17.3 | 8.58 | 1.7 | 1.5 | 366 | 55 | Orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 11/08/2017 | 12:31 | 12:33 | 0:02 | - | 40 | 6.76 | 16.3 | 18.37 | 12.98 | -78 | 7.34 | 49.9 | 49.6 | 486 | 184 | Colourless | Clear | None | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 17/08/2017 | 17:13 | 17:19 | 0:06 | 113 | - | 8 | 20.1 | 25.4 | 16.71 | -66.2 | 9.44 | 5.3 | 3.5 | 349 | 111 | Clear | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 17/08/2017 | 17:25 | 17:27 | 0:02 | - | - | 7.57 | 21.1 | 26.2 | 16.91 | -42.2 | 8.06 | 3.9 | 3.9 | 347 | 122 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 17/08/2017 | 17:20 | 17:22 | 0:02 | - | - | 7.92 | 20.5 | 25.9 | 16.92 | -61.9 | 9 | 5 | 5 | 333 | 106 | Slight orange | Clear | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 17/08/2017 | 17:23 | 17:24 | 0:01 | - | - | 7.54 | 22.5 | 27 | 17.01 | -40.6 | 8.29 | 4.5 | 4.5 | 341 | 120 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 17/08/2017 | 17:28 | 17:29 | 0:01 | - | 40 | 7.08 | 18.6 | 24.7 | 16.81 | -14.2 | 6.72 | 62 | 61.9 | 364 | 172 | Colourless | Clear | Sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 24/08/2017 | 13:17 | 13:18 | 0:01 | 110 | - | 8.1 | 20.4 | 25.6 | 16.97 | -20.6 | 9.36 | 5 | 4.1 | 316 | 104 | Colourless | Clear | None | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 24/08/2017 | 13:23 | 13:25 | 0:02 | - | - | 7.47 | 20.8 | 25.7 | 16.84 | -37.4 | 8.11 | 4.1 | 4.1 | 338 | 130 | Medium orange | Cloudy | None | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 24/08/2017 | 13:19 | 13:21 | 0:02 | - | - | 7.98 | 21 | 26.9 | 17.12 | -55.8 | 9.14 | 5.1 | 4.6 | 327 | 119 | Colourless | Slightly cloudy | None | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 24/08/2017 | 13:21 | 13:23 | 0:02 | - | - | 7.5 | 21.8 | 25.7 | 17.11 | -37.9 | 8.19 | 4.8 | 4.8 | 335 | 127 | Medium orange | Cloudy | None | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 24/08/2017 | 13:26 | 13:27 | 0:01 | - | 40 | 7.14 | 18.2 | 24.3 | 16.7 | -20.6 | 7.01 | 60.9 | 59.1 | 357 | 159 | Colourless | Clear | Sulpher | - | -
40 | HORDEN | CONSENTED DISCHARGE | 40.4 | 31/08/2017 | 12:39 | 12:45 | 0:06 | 115 | - | 7.3 | 15 | 25.9 | 16.94 | -54 | 16.94 | 3.1 | 3.1 | 346 | 94 | CLEAR | CLEAR | CLEAR | - | -
40 | HORDEN | LEFT LAGOON OUT | 40.5 | 31/08/2017 | 12:26 | 12:28 | 0:02 | - | - | 7.1 | 15 | 24.8 | 16.48 | -71 | 8.1 | 3 | 3.9 | 390 | 110 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | REED BED 1 OUT | 40.8 | 31/08/2017 | 12:22 | 12:25 | 0:03 | - | - | 7.25 | 15 | 25.6 | 16.81 | -36 | 8.81 | 3.4 | 3.4 | 354 | 106 | CLOUD | CLOUDY | NONE | - | -
40 | HORDEN | RIGHT LAGOON OUT | 40.6 | 31/08/2017 | 12:29 | 12:38 | 0:09 | - | - | 8.14 | 15 | 25.3 | 16.54 | -71 | 8.1 | 4.1 | 4.1 | 385 | 108 | ORANGE | CLOUDY | NONE | - | -
40 | HORDEN | SOUTH SHAFT | 40.1 | 31/08/2017 | 12:18 | 12:21 | 0:03 | - | 40 | 6.85 | 18 | 24.1 | 16.25 | -64 | 7.21 | 64 | 64 | 410 | 141 | CLEAR | CLEAR | NONE | - | -
Note on N4: Dewi Jones: Remove units appropriate
Note on F5: Reavill, Mark: This data is unavailable.
Note on G5: Reavill, Mark: This data is unavailable.
Note on K5: Reavill, Mark: Data unavailable
Note on F6: Reavill, Mark: This data is unavailable.
Note on G6: Reavill, Mark: This data is unavailable.
Note on K6: Reavill, Mark: Data unavailable
Note on F7: Reavill, Mark: This data is unavailable.
Note on G7: Reavill, Mark: This data is unavailable.
Note on K7: Reavill, Mark: Data unavailable
Note on F8: Reavill, Mark: This data is unavailable.
Note on G8: Reavill, Mark: This data is unavailable.
Note on K8: Reavill, Mark: Data unavailable
Note on F9: Reavill, Mark: This data is unavailable.
Note on G9: Reavill, Mark: This data is unavailable.
Note on K9: Reavill, Mark: Data unavailable
Note on F10: Reavill, Mark: This data is unavailable.
Note on G10: Reavill, Mark: This data is unavailable.
Note on F11: Reavill, Mark: This data is unavailable.
Note on G11: Reavill, Mark: This data is unavailable.
Note on F12: Reavill, Mark: This data is unavailable.
Note on G12: Reavill, Mark: This data is unavailable.
Note on F13: Reavill, Mark: This data is unavailable.
Note on G13: Reavill, Mark: This data is unavailable.
Note on F14: Reavill, Mark: This data is unavailable.
Note on G14: Reavill, Mark: This data is unavailable.
Note on L20: Reavill, Mark: Data unavailable
Note on L21: Reavill, Mark: Data unavailable
Note on L22: Reavill, Mark: Data unavailable
Note on L23: Reavill, Mark: Data unavailable
Note on L24: Reavill, Mark: Data unavailable
Note on L25: Reavill, Mark: Data unavailable
Note on L26: Reavill, Mark: Data unavailable
Note on L27: Reavill, Mark: Data unavailable
Note on L28: Reavill, Mark: Data unavailable
Note on L29: Reavill, Mark: Data unavailable
Note on L30: Reavill, Mark: Data unavailable
Note on L31: Reavill, Mark: Data unavailable
Note on L32: Reavill, Mark: Data unavailable
Note on L33: Reavill, Mark: Data unavailable
Note on L34: Reavill, Mark: Data unavailable
Note on L35: Reavill, Mark: Data unavailable
Note on L36: Reavill, Mark: Data unavailable
Note on L37: Reavill, Mark: Data unavailable
Note on L38: Reavill, Mark: Data unavailable
Note on L39: Reavill, Mark: Data unavailable
Note on L40: Reavill, Mark: Data unavailable
Note on L41: Reavill, Mark: Data unavailable
Note on L42: Reavill, Mark: Data unavailable
Note on L43: Reavill, Mark: Data unavailable
Note on L44: Reavill, Mark: Data unavailable
Note on L45: Reavill, Mark: Data unavailable
Note on L46: Reavill, Mark: Data unavailable
Note on L47: Reavill, Mark: Data unavailable
Note on L48: Reavill, Mark: Data unavailable
Note on L49: Reavill, Mark: Data unavailable
Note on K81: Reavill, Mark: Data unavailable
Note on L91: Reavill, Mark: Data unavailable
Note on E105: Dewi Jones: Are any of these duplicates, i.e. for the previous visit? One South Shaft dataset missing?
Note on R218: August comments We are currently investigating why there is missing data for the Analytes highlighted in Orange.
Note on L220: Dewi Jones: Record to 2 decimal places.
Note on R220: Dewi Jones: No comment on identical values being collected, are they correct?
Note on Q232: Dewi Jones: Ferrous Iron shoould not be higher than total Iron - Please investigate

## Comments
Site Number
Site Name
Sub Name
Sub Number
Date of Visit
Start Time of Testing | For each sample point
Finish Time of Testing | For each sample point
Time Taken at Sub Site | Minutes
Weir Stage Reading | mm
Flow | L/s (i.e. bucket and stopwatch or flow meter) | As previously discussed, TCA to provide documentation on standardised way to estimate flows to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
pH | pH units
Temperature | °C
Electrical Conductivity (EC) @ 25°C | µs/cm (or ms/cm) | Please clarify the requirement to warm sample to 25°C, as this may be problematic in the field. | Most probes will apply the temperature correction automatically so the operator will need to make sure that the correct number is being reported. It is sometimes reported as specific conductivity however this will be detailed in the user instructions for the equipment that is being purchased.
Total Dissolved Solids (TDS) | ppm (or mg/l)
Oxidation-Reduction Potential (ORP or EH) | (+ -) mV
Dissolved Oxygen (DO) | mg/L
Total Iron | mg/L
Ferrous Iron | mg/L
Alkalinity (to pH 4.5) | mg/L as CaCO3
Cold Acidity (to pH 8.3) | mg/L as CaCO3
Water Colour | Colourless, Pale Orange, Medium Orange, Dark Orange, Muddy, Peaty Brown, Green (algae), etc. | As previously discussed, TCA to provide documentation on standardised way to record water colour to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Water Clarity | Clear, Cloudy, Opaque, Foaming, Oily / Greasy, etc. | As previously discussed, TCA to provide documentation on standardised way to record water clarity to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Odour, Smell | Hydrogen Sulphide (bad eggs); etc. | As previously discussed, TCA to provide documentation on standardised way to record odour to remove ambiguity from different operators visiting sites. | See updated Guidance notes tab
Comments on Data
Comments General

## Sampling Program
Onsite Chemistry Monitoring
Site | Sample point | Sub site code | Frequency | pH | EC | DO | TDS | Temp | Tot_Fe | Ferrous Fe | Acidity | Alkalinity | ORP / EH | tests
Blenkinsopp | Smallburn Shaft | 607.1 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon (North) Out | 607.7 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Consented Discharge | 607.5 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
Frances | Shaft | 163.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge | 163.3 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Horden | South Shaft | 40.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Left Settlement Lagoon Out | 40.5 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Right Settlement Lagoon Out | 40.6 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Reed Bed 1 Out | 40.8 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge | 40.4 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Sheephouse Wood | Pumping Borehole | 401.6 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Bottom of Cascade | 401.7 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Middle of Transfer Channel | N/A | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Bottom of Transfer Channel | 401.8 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon 1 Out | 401.9 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Settlement Lagoon 2 Out | 401.91 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Consented Discharge | 401.92 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Halifax Hards Outflow | 401.2 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
| Sheephouse Wood Adit | 401.1 | Fortnightly | P | P | P | P | P | P | P | P | P | P | 26
Ynysarwed | Adit | 210.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Aeration | N/A | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Clarifier In | N/A | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Treatment Plant Out | 210.2 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge (Large Reed Bed) | 210.4 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| Consented Discharge (Small Reed Bed) | 210.5 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
Dawdon | Theresa Shaft | 24.1 | Weekly | P | P | P | P | P | P | P | P | P | P | 52
| HDS Discharge Weir | 24.2 | Weekly | P | P | P | P | P | P | P | P | P | P | 52